# CORRIGENDUM No: 1

to the

ANNEX II + III: TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

Publication Ref: 1298/City of Pancevo/125824/31.12.2015./TD-05

Subject: Supply of solar collectors and steel construction and assembling of technological equipment

Location: Republic of Serbia

The ANNEX II + III: TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

is corrected or modified as follows:

## The former text:

| ## 1 | Delivery and installation of vertical flat plate collectors. Solar collectors must be resistant to all atmospheric conditions with safety glass, high light transmission, low heat losses and safety glass. The absorber area is coated with high selectivity Mirotherm with double copper pipes welded in meander system over the entire area. The integrated assembly line allows connection of 10 pieces in a row. Solar collector must have Solar Keymark certificate with summary of EN 12975 Test Results, annex to Solar Keymark Certificate. With offer, Solar Keymark and addition EN 12975 must be shown. Gross area: 2,51 m² or more Aperture area: 2,33 m² or more Efficiency: 0,81 or more Power output per collector module (for Q=1000W/m² and Tm-Ta=0K): 1907 W or more ## Maximum operating pressure: 6 bar or more |
| --- | --- |

## Shall read as new text:

| ## 1 | Delivery and installation of vertical flat plate collectors. Solar collectors must be resistant to all atmospheric conditions with safety glass, high light transmission, low heat losses and safety glass. The absorber area is coated with high selectivity Mirotherm with double copper pipes welded in meander system over the entire area. The integrated assembly line allows connection of 10 pieces in a row. Solar collector must have Solar Keymark certificate with summary of EN 12975 Test Results, annex to Solar Keymark Certificate. With offer, Solar Keymark and addition EN 12975 must be shown. Gross area: 2,5 m² or more Aperture area: 2,3 m² or more Efficiency: 0,81 or more Power output per collector module (for Q=1000W/m² and Tm-Ta=0K): 1907 W or more ## Maximum operating pressure: 6 bar or more |
| --- | --- |

Tenderers are strictly requested, when preparing their tender, to use amended version.