UNIVERSITATEA DE MEDICINĂ ȘI FARMACIE “VICTOR BABEȘ”

DIN TIMIȘOARA

DIRECȚIA GENERAL ADMINISTRATIVĂ

Piața Eftimie Murgu Nr. 2, Timișoara, Cod poștal 300041, Jud. Timiș

Cod Unic de Înregistrare: 4269215

Tel/Fax : 0040-(0)256-204.271

CLARIFICATION No: 1

to the public procurement: Medical equipment

Publication Ref: 5/RORS-9/2017

Following the clarification request no. 8528/31.10.2017 regarding the public procurement no. 5/RORS-9/2017, please find bellow the answer of the Contracting Authority:

Question:

ANNEX II + III:	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

Article 2. Diagnostic portable ultrasound systems – 2 pieces

Request: "phased array", up to 4 selectable harmonic frequencies

Harmonic frequencies improve contrast resolution. The equipment we want to offer is made in modern technology, which also includes a special tissue contrast enhancement program, allowing you to select three levels of contrast enhancement to maintain an optimal image.

Please consider as eligible equipment that, which offers multifrequency sector translators (phased array) the ability to select at least 3 harmonic frequencies as long as the equipment is equipped with a selectable contrast enhancement program on a minimum of 3 levels.

Answer:

As the offered equipment has a capacity which is better than the asked minimum specification, allowing a better contrast resolution with the 3 harmonic frequencies and the contrast enhancement on a minimum 3 levels, it can be considered eligible for the contract.