ANNEX II: TERMS OF REFERENCE

1.	BACKGROUND INFORMATION	2

1.1.	Partner country	2

1.2.	Contracting Authority	2

1.3.	Country background	2

1.4.	Current situation in the sector	2

1.5.	Related programmes and other donor activities	2

2.	OBJECTIVE, PURPOSE & EXPECTED RESULTS	2

2.1.	Overall objective	2

2.2.	Purpose	3

2.3.	Results to be achieved by the Contractor	3

3.	ASSUMPTIONS & RISKS	3

3.1.	Assumptions underlying the project	3

3.2.	Risks	3

4.	SCOPE OF THE WORK	3

4.1.	General	3

4.2.	Specific work	3

4.3.	Project management	4

5.	LOGISTICS AND TIMING	4

5.1.	Location	4

5.2.	Start date & Period of implementation of tasks	4

6.	REQUIREMENTS	5

6.1.	Staff	5

6.2.	Office accommodation	6

6.3.	Facilities to be provided by the Contractor	6

6.4.	Equipment	7

7.	REPORTS	7

7.1.	Reporting requirements	7

7.2.	Submission and approval of reports	7

8.	MONITORING AND EVALUATION	8

8.1.	Definition of indicators	8

8.2.	Special requirements	8

# BACKGROUND INFORMATION

## Partner country

Republic of Serbia

## Contracting Authority

General Hospital Požarevac, Bratstva jedinstva 135, 12000 Požarevac, Republic of Serbia

## Country background

Decline of population - the population in the border area on the Serbian territories declined by more than 10% in the last decade;

- Serious aging of the population as a consequence of emigration and natural decline, especially in the rural areas;

- Natural demographic trend is negative in most areas;

Health is one of the strongest aspirations of today and is closely and inextricably linked to the concept of economic and social development. It is an inalienable right of all people and must be understood as "a complete welfare of physically, mentally and socially" and not just the absence of disease or infirmity. One of the common territorial challenges shared by the border region of ROM-SRB Programme area is the prevalence of cancer among the population as one of the leading causes of death, especially when we consider the aging of the population, which is an additional factor of high prevalence of malignant diseases.

This project aims to tackle the challenge of better cancer diagnosis and treatment through improved medical research supported by cross-border networking, improved IT technologies and modernized hospital facilities.

## Current situation in the sector

In Serbia the age standardized cancer incidence rates (W) for both sexes were 224.2 and 269.7, respectively, as compared with 247.0 for the entire WHO Europe Region. In terms of mortality, the rates were 147.8 in Serbia and 114.0 in Europe. These data show the incidence of cancer in the two countries is close to the European average (higher in Serbia). However, a noteworthy difference in the number of cancer deaths can be seen, with both countries having higher mortality rates (29% higher in Serbia) than the European average. The risk of getting cancer before age 75 is 27.1% in Serbian population, with the European average being 25.1%. Again, the real issue is the risk of dying from cancer before the age of 75 years, which is higher in Serbia (16.3%) than in Europe.

## Related programmes and other donor activities

Similar tele-medical partnership/network has been accomplished between South Banat District and Caras-Severin County and Branicevo District - Caras-Severin County as a result of previous Calls of the IPA ROM-SRB CBC Programme.

# OBJECTIVE, PURPOSE & EXPECTED RESULTS

## Overall objective

The overall objective of the project of which this contract will be a part is as follows:

“To foster collaboration in the field of oncology between medical institutions on the two sides of the border in order to provide access to modern and efficient specific health care services for all oncologic patients resident in the Region, with the aim to improve their lifespan/survival/life expectancy and quality of life.”

## Purpose

The purposes of this contract are as follows:

- To provide supervision of the Construction works for New (Unfinished) Hospital building - Phase II, renovation and adaptation of the existing building in accordance with Practical Guide (PRAG);

- To provide adequate technical assistance and advice to the Contracting Authority, in terms of quality assurance regarding implementation of the works contract;

- Issuing provisional and final acceptance certificates for construction works;

- Monitoring of the executed works during their Defects Liability Period;

## Results to be achieved by the Contractor

The results to be achieved under this contract are as follows:

- Supervision for Works Contract

- Provide sufficient, qualified and experienced staff to ensure proper supervision of the works during the Construction and Defects Liability period.

- Control of all contractual documentation available (insurances, guarantees, permits, etc);

- Design Review and approval - review the Works Contractor’s design for execution according to RS law (“PZI” as per Construction and Planning Law), working drawings.

- Smooth project implementation system in place including quality assurance system;

- All risks in terms of potential quality problems, delays or budget overruns shall be timely identified and professionally managed;

- Supervision of works carried out, all relevant documentation completed in accordance with the Works contract and relevant RS laws;

- Advise on any claims or contractual problems arising during the works, indicate potential delays and prevent the claims whenever possible;

- Verify "as build-drawings" and deliver to the Contracting Authority all reports, records, certificates and addenda prepared by the Contractor upon works completion.

- Carry out final inspection and prepare Provisional acceptance certificate and other documents corresponding to the Conditions of Works Contract demands;

- All documentation prepared for further and legal administrative actions of the Beneficiary, (Technical Acceptance, Utility Permit, etc), regarding the Serbian laws and the role of Checking and Supervising Engineers fulfilled;

- Ensure that the Works Contractor fulfils his contractual obligations during the DLP, including rectifying all defects in the works in a timely manner

- Inspect the site during the DLP Notify and instruct the Works Contractor accordingly of all defects found;

- Final Inspection on expiry of the DLP in the presence of a representative from the Works Contractor and the Contracting Authority and prior to issuing Final Acceptance Certificate;

- All required technical and administrative reports to the Contracting Authority prepared in time.

# ASSUMPTIONS & RISKS

## Assumptions underlying the project

- For all promotional activities and event organization, the Contractor must be informed about promotional requirements of EU funded projects in order to comply with the latest Communication and Visibility Manual for EU External Actions concerning acknowledgement of EU financing of the project. (See https://ec.europa.eu/europeaid/communication-and-visibility-manual-eu-external-actions_en.

## Risks

Continuous and close cooperation with the Contracting Authority should be respected during contract implementation in order to avoid possible issues resulting from miscommunication regarding the promotional goals or event objectives of project ROSECAN.

# SCOPE OF THE WORK

## General

### Description of the assignment

- The Contractor shall assist to the Contracting Authority in efficient and effective supervision of reconstruction, renovation and adaptation of the existing building of the Hospital building in Pozarevac in accordance with the PRAG conditions of works contract, Contract documents and in line with the valid Serbian legal basis, resulting in the issuing of the Provisional Acceptance Certificate when the works are substantially completed, and the Final Acceptance Certificate at the end of the Defects Liability Period.

All of this is required to be achieved within the quality, budget and timing stipulated in the Works contract and in line with the relevant Serbian legislation.

### Geographical area to be covered

City of Požarevac, Braničevski District, Serbia

### Target groups

- Patients benefiting from the services of health institutions included in the network on both sides of the border.

- Population living in the border area that will experience the improvement of quality of life as a result of the efforts of the project.

- Health care personnel and health units in the border area.

- Medical society.

- Policy makers.

## Specific work

The Contractor shall ensure all supervision services and exercise all reasonable care to protect the interests of the Contracting Authority and advise the Contracting Authority on all necessary measures to overcome dispute situation and meet the works contract objectives.

To fulfil such requirements, the Contractor shall establish organizational structure during the construction supervision services in accordance with all requirements for quality control, control of quantities, supervision on the work progress, analysis of expenses and full implementation of environmental criteria as well as working on technical and administrative questions during the construction and Defects Liability Period (DLP).

In the course of the performance of its services, the Contractor will ensure that required safety measures are applied at all stages, in line with local legislation and international standards. Similarly, the Contractor will ascertain that all environmental protection aspects are considered, and in particular that the mitigation measures recommended in the EIA are effectively implemented.

The Contractor shall act as a Supervisor, in compliance with the PRAG contract, as well as with all requirements laid down by the Serbian laws.

The Contractor shall liaise with the Contracting Authority institution for the purpose of maintaining regular contacts, consultations and flow/exchange of information and keep them fully informed on all matters relating to the status of the works contract and in particular any issues with possible cost or progress implications.

The Contractor is invited to make a clear proposal in the offer on identification of key activities, organisation of the work and distribution of resources to allow timely and efficient achievement of projects' results.

The service will be contracted for a 24 months period of project implementation, as a part time job (20% working time) and the offer is to be made for lump sum for the complete service of technical support.

Contractor’s services related to Works contract must cover the following main project periods:

- Pre-construction period

- Construction period

- Post-construction period (defects liability period).

### Activities during Pre-Construction period

- Recruitment of staff and logistics organization (other than proposed Key expert);

- Establishment of due procedures for proper works supervision including preparation of a Manual of Supervision Procedures. The Manual shall include the provisions of the actual Serbian legislation in connection with design and quality in construction. The Manual shall include as a minimum:

- Review the works Contractor’s safety procedures

- Review the works Contractor’s QA systems

- Review the works Contractor’s documents

- Review the works Contractor’s claims

- Review the works Contractor’s method statements, inspection plans and procedures

- Checking the equipment/ materials brought to site

- Review the construction contractors proposed changes and non-conformities to the contract

- Reporting on construction contractors progress

- Records of site meetings

- Records of site photographs of construction

- Review of construction contractors testing schedules for tests on completion and procedures to ensure validity of construction contractors process designs

- Provisional Acceptance certificate

- Regular inspections/ tests to be done throughout the Defects Liability Period

- Final Acceptance Certificate;

- Ensure that the communication and reporting mechanism with the Contracting Authority (CA) is set up, fully functioning and efficient for the duration of the project;

- Checking the validity period and approvals of relevant Works Contractor’s insurance policies, guarantees, certificates and other relevant documents under liability of the Works Contractor;

- Checking and confirming that all required approvals and permits are obtained in time, before commencement of respective works.

### Activities during Construction period

#### Contract administration and management

The Contractor shall carry out contract administration and management duties throughout the duration of the assignment to secure smooth and timely implementation, proper supervision in accordance with Technical Documentation and control of the Project. For this propose the Contractor shall establish clear lines of responsibility and procedures for each activity in the construction period.

For the implementation of the works, the Contractor shall supervise the procedures and the results of measurement of the site of the works to be carried out by the works contractor.

The Contractor shall analyse and monitor contractual programmes submitted by the works contractor and give instructions to the Works Contractor to take appropriate measures to fulfil works contractor’s tasks. The Contractor shall review Works Contractor’s programmes on a regular basis throughout the project.

The Contractor shall ensure that works will not commence before all required approvals, construction and excavation permits and permits for closing of public areas and road are obtained.

The Contractor shall ensure that all conditions of contract are strictly adhered to and that Works Contractor fulfils his contractual obligations. All instructions to the Works Contractor shall be clearly documented by the Contractor.

The Contractor shall ensure that all safety risks during construction and commissioning of the works are assessed in advance and risk mitigation measures introduced prior to commencement of the relevant activities.

Monitoring of the financial resources and immediately advise the Contracting Authority of any potential cost savings, and also if he considers that the construction costs are likely to exceed the available budget;

Interim payment certificates - check the Works Contractor’s measurement and calculations of quantities of works completed and statement. Based on this the Contractor will certify, after correction if necessary, the Works Contractor’s Interim Payment Certificate so that it can be delivered to the Contracting Authority in a format agreed with him, within the period stipulated in the works contract;

Unscheduled works items - For any unscheduled items of works that may arise, the Contractor shall negotiate the costs with the Works Contractor and make recommendations to the Contracting Authority;

The Contractor shall be in continuous contact with the Works Contractor to identify and resolve any potential problems in a proactive manner. The Contractor shall hold weekly site meetings and monthly progress meetings with the Works Contractor and other stakeholders.

The Contractor shall seek the Contracting Authority agreement prior to any instruction to the Works Contractor, which could increase the cost and the time extension of the project.

All potential delays and other problems shall be identified with corresponding actions agreed in order to assist the Contractor to avoid overall delay. The Contracting Authority shall be kept informed of the progress of works by providing detailed minutes of meetings. The Contractor shall prepare all reports.

The Contractor shall assist the Contracting Authority in administrative duties, including financial planning and preparation of cash flow forecasts for the works contract on monthly basis.

The Contractor shall carry out any other task related to the works as may be requested by the Contracting Authority

#### Ensuring adherence to international standards

The Contractor shall ensure that works are implemented to a high standard in accordance with the PRAG conditions as well as in line with the Serbian legislation.

#### Design review

The Contractor shall review the existing design, Bills of Quantities and technical specifications, review and approve Design for execution prepared by the Works Contractor.

#### Site Supervision

The Contractor shall carry out day-to-day supervision of construction works in accordance with the Works Contracts and according to the Construction and Planning Law, Site Procedures Manual and Supervisor’s Quality Assurance Manual. The main objective of the supervision is to facilitate achievement of the highest possible standard of construction works within the contract time.

The Contractor shall advise the Contracting Authority of any appropriate measures that may be taken to avoid and rectify any deficiencies and improve the cost effectiveness of the project.

- The Contractor shall maintain and update regularly with the Works Contractor the site diary and other relevant documents in English and in Serbian, as required by the Law on Planning and Construction of the Republic of Serbia.

- Approval of Works Contractor’s performance programme (time table) - The Contractor shall approve the Works Contractor’s programme, particularly the mobilization of plant and equipment on site, and the deployment of specialized trades and of sub-contractors;

- Control of all contractual documentation available (insurances, guarantees, permits, etc);

- Surveys, site investigations and setting out of the works - check and approve all of the contractor’s surveys, investigations and setting out of the works;

- Smooth project implementation system in place including quality assurance system;

- All risks in terms of potential quality problems, delays or budget overruns shall be timely identified and professionally managed;

- All the works to be constructed by the Contractor shall be in strict compliance with respective Works Contract financed by the European Union, within contract time and budget.

- Supervision of works carried out, all relevant documentation completed in accordance with the Works contract and in line with relevant Serbian legislation;

- Monitor progress of the works

- Advise on any claims or contractual problems arising during the works, indicate potential delays and prevent the claims whenever possible;

- Provisional acceptance certificate - The Contractor shall prior to the provisional acceptance, carry out joint final site inspections and surveys and agree a snagging list with the Contracting Authority. When it is agreed that the snags are such that the works are substantially complete, and after receiving the work contractor’s request for such certificate, the Contractor shall prepare and submit to the Works Contractor in coordination with the Contracting Authority, the provisional acceptance certificate;

- All required technical and administrative reports to the Contracting Authority prepared in time.

#### Quality controls

The Contractor shall supervise quality controls:

- The Contractor shall ensure that the quality of materials and the end product is to the high standard of quality. All testing shall be carried out in accordance with the valid RS standards, works technical specifications, specified procedures and at the specified intervals;

- The Contractor may propose amendments to the design and specifications for the Contracting Authority’s approval, if such alterations are considered to be benefit to the quality and economy of the Project;

- Issue any variation order regarding the quantities of the works, if fully justified by the site situation, in consultation with the Contracting Authority;

- The Contractor shall instruct the works contractor to substitute and make good any part of the works, if levels, dimensions, materials or workmanship do not conform to the requirements and specifications;

- The Contractor shall measure and keep accurate records of permanent works executed by the works Contractor. The works shall be measured on site in accordance with the Contract and as presented on the contract drawings.

- The Contractor shall ensure that the Works Contractor’s payment requests for work executed are accurate, fair and reasonable representations of the value of the work.

- The Contractor shall prepare interim certificates for interim payments, and certify completion of parts or the totality of the works. The Contractor shall ensure that the Contracting Authority is at all times informed of all matters relating to payments, cash flow or any other impacts on budgetary provisions;

- To avoid any delays in payments the Contractor shall ensure high quality of all payment documents;

- The Contractor shall carefully monitor all levels, lines and other parameters affecting the work, so as to ensure that the works are constructed to fulfil requirements of the Contracting Authority;

- Accurate records shall be taken throughout the duration of the contract in order to reach agreement on the Contractor’s final account;

- The Contractor shall conduct regular site inspections to check the quality of the workmanship and materials in accordance with the Contract and good engineering practice.

- Organize an archiving system (digital and on paper) in order to survey the progress of works. All the documents and communications related to the programme shall be archived and the archiving system shall be maintained in full compliance both with the requirements of the financing institutions and with the requirements of the Serbian law.

- The Contractor shall obtain the specific approval of the Contracting Authority before taking action for which under Works Contract approval is required to be obtained.

#### Other activities

The Contractor shall carry out all other activities needed for the smooth implementation of the Project.

### Activities during the post-construction period (Defect Liability Period)

The Contractor shall ensure that the Works Contractor fulfils his contractual obligations during the defects liability period, including rectifying all defects in the works in a timely manner. The activities to be performed by the Contractor during this period include, but are not limited to:

- Inspections during the defects liability period:

In addition to inspection of the works at expiry of the defects liability Period (12 months), the Contractor shall undertake three intermediate inspections at approximately three month intervals during the defects liability Period. In the event that the Contracting Authority calls the Contractor to the works to deal with a particular defect at another time this shall be deemed to be one of the intermediate inspections.

In addition to dealing with any particular defect all intermediate inspections shall cover the entire works. The Contractor shall:

- Notify and instruct the Works Contractor accordingly of all defects found;

- Report on the status of the Works and on the operation and maintenance of the Works to date;

### Final Inspection on expiry of the Defects Liability Period

The final inspection of the whole works period shall be carried out just before, or on expiry of the Defect Liability Period in the presence of a representative from the respective Work Contractor, Beneficiary and the Contracting Authority. Any outstanding defects shall be issued to the works Contractor as a sang list within time stipulated in the contract. When problems or defects have been remedied, another joint site inspection shall take place and if the works are satisfactory the Contractor/Supervisor will issue the defects liability certificate. The results of the inspections and the issuing of the Final Acceptance Certificate will be covered in the final technical report of the Work Contract.

### Visibility activities

In addition to above activities, the Contractor must also perform activities defined in the latest Communication and Visibility Manual for EU External Action available at:

https://ec.europa.eu/europeaid/funding/communication-and-visibility-manual-eu-external-actions_en.

The compliance with this shall be made an output of the contract and the Contractor shall include in its reporting what have been accomplished.

### Final outputs

The required final outputs of this contract on works supervision should be as follows:

- Provisional and Final Acceptance Certificate of the Works Contract including the approval obtained from the Judicial Academy and the final site report signed by all concerned parties (Works Contractor, Judicial Academy and Supervisor);

- Provisional Acceptance Certificate of the Supply contract including the approval obtained from the Judicial Academy

- All contractual paperwork in place in time (insurances, guarantees, permits etc.);

- Smooth projects implementation system in place and implemented, including quality assurance system. Supervisor shall draft the Supervision Procedures Manual, where supervision team members have assigned responsibilities, which will be adopted by the Contracting Authority.

- All risks in terms of potential quality problems, delays or budget overruns timely identified and professionally managed;

- All the works implemented by the works Contractor in strict compliance with respective works contract, within contract time and budget lines. Supervision of works carried out, all relevant documentation completed in accordance with the works contracts and relevant law;

- Works handed-over and permissions for utilization obtained under the statutory procedures and within the specified periods;

- All required technical and administrative reports prepared in time

## Project management

### Responsible body

The Consultant is responsible for all the activities regarding this contract.

### Management structure

The responsible person for implementation of the tasks related to this contract, in the Contracting Authority is Danko Nikolić, Project Manager.

### Facilities to be provided by the Contracting Authority and/or other parties

Not applicable.

# LOGISTICS AND TIMING

## Location

City of Požarevac, Braničevski District, Serbia.

## Start date & Period of implementation of tasks

The intended start date is the date of signature of the contract by both parties and the period of implementation of the contract will be 24 months from this date. Please see Articles 19.1 and 19.2 of the Special Conditions for the actual start date and period of implementation.

# REQUIREMENTS

## Staff

Note that civil servants and other staff of the public administration of the partner country, or of international/regional organisations based in the country, shall only be approved to work as experts if well justified. The justification should be submitted with the tender and shall include information on the added value the expert will bring as well as proof that the expert is seconded or on personal leave.

### Key experts

Key experts are defined and they must submit CVs and signed Statements of Exclusivity and Availability.

Key expert 1: Architect / Civil Engineer

Qualifications and skills:

• University degree in Architecture/Civil Engineering (acquired on a completion of at least five (5) years of academic studies in an university institution);

• Possession of license for responsible designer and/or for responsible construction engineer in accordance with Serbian Law on Planning and Construction

• Computer skills – Windows, Office and Internet;

• Serbian and English language fluency.

General professional experience:

• Minimum ten (10) years of general post-graduate professional experience in civil engineering/designing and/or supervision of civil structures.

Specific professional experience:

• Experience in supervising and coordinating all technical aspects of supervision contracts, in at least one (1) project with minimum value of works EUR 1.000.000,00 in last five (5) years.

Key expert 2: Electrical Engineer

Qualifications and skills:

• University degree in Electrical Engineering;

• Possession of license for responsible designer and/or for responsible construction engineer in accordance with Serbian Law on Planning and Construction

• Computer skills – Windows, Office and Internet;

• Serbian and English language fluency.

General professional experience:

• Minimum eight (5) years of general post-graduate professional experience in the field of electrical engineering.

Specific professional experience:

• Experience in supervising and coordinating all electrical aspects of works contract, in at least one (1) project of similar size and complexity in last five (5) years.

Key expert 3: Mechanical Engineer

Qualifications and skills:

• University degree in Mechanical Engineering;

• Possession of license for responsible designer and/or for responsible construction engineer in accordance with Serbian Law on Planning and Construction

• Computer skills – Windows, Office and Internet;

• Serbian and English language fluency.

General professional experience:

• Minimum five (5) years of general post-graduate professional experience in the field of mechanical engineering.

Specific professional experience:

• Experience in supervising and coordinating all technical aspects of mechanical aspects, in at least one (1) project of similar size and complexity in last five (5) years.

All experts must be independent and free from conflicts of interest in the responsibilities they take on.

### Other experts, support staff & backstopping

CVs for experts other than the key experts should not be submitted in the tender but the tenderer will have to demonstrate in their offer that they have access to experts with the required profiles. The Contractor shall select and hire other experts as required according to the needs. The selection procedures used by the Contractor to select these other experts shall be transparent, and shall be based on pre-defined criteria, including professional qualifications, language skills and work experience.

The costs for backstopping and support staff, as needed, are considered to be included in the tenderer's financial offer.

## Office accommodation

Office accommodation for each expert working on the contract is to be provided by the works Contractor.

## Facilities to be provided by the Contractor

The Contractor shall ensure that experts are adequately supported and equipped. In particular it must ensure that there is sufficient administrative, secretarial and interpreting provision to enable experts to concentrate on their primary responsibilities. It must also transfer funds as necessary to support their work under the contract and to ensure that its employees are paid regularly and in a timely fashion.

## Equipment

No equipment is to be purchased on behalf of the Contracting Authority / partner country as part of this service contract or transferred to the Contracting Authority / partner country at the end of this contract. Any equipment related to this contract which is to be acquired by the partner country must be purchased by means of a separate supply tender procedure.

# REPORTS

## Reporting requirements

The Contractor will submit the following reports in English in one original and one copy:

The contractor will prepare final report on the implementation of the tasks, at the end of this contract. It should be submitted at the end of 24th month. The approval of the final report by the Contracting Authority will be the basis for issuing final payment as indicated in the Special Conditions. The final report must be provided along with the corresponding invoice.

The contractor will prepare brief interim reports by the end of 3rd, 8th, 13th, and 19th months. The approval of interim report will be the basis for issuing respective interim payment as indicated in the Special Conditions. The interim report must be provided along with the corresponding invoice.

## Submission and approval of reports

The report referred to above must be submitted to the Project Manager identified in the contract. The Project Manager is responsible for approving the reports.

# MONITORING AND EVALUATION

## Definition of indicators

The Contracting Authority and Beneficiary Institution will take measures to monitor the process and to make timely evaluation on the base of the provided reports.

A specific judgment about the Contractor’s performance can be obtained from the following:

- Actual and timely deployment of the foreseen supervision team staff;

- Construction works completed within the given time frame

- Timely Approved Inception Report

- Timely Approved 6-month Progress Report

- Timely Approved Provisional Acceptance Report

- Timely Approved Defect liability reports

- Timely Approved Final Report

- Timely Issued Final Acceptance Certificate

## Special requirements

In order to facilitate the processing of the documents handed to the Contracting Authority, the Contractor shall also submit a digital version of the documents. The electronic version shall be identical to the original (printed) version, however in case of any discrepancies between the electronic version and the original (printed version), the latter will prevail.

The digital versions of the documents can be submitted on a CD or sent to the Project manager. The name of the Contractor as well as the contract number and title should be clearly indicated in the email subject or on the CD.