# ANNEX II + III :	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

- Contract title: Purchasing of Portable firefighting pump	p 1 /…

Publication reference: RORS 40-11/2018

Columns 1-2 should be completed by the Contracting Authority

Columns 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the Contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the Contracting Authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words “compliant” or “yes” are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

| 1. Item Number | 2. Specifications Required | 3. Specifications Offered | 4. Notes, remarks, ref to documentation | 5. Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
|  | All requirements mentioned and requested in this document are minimal and mandatory |  |  |  |
| 1. | PORTABLE FIREFIGHTING PUMP pcs 2 |  |  |  |
|  | Pump specification - Singlestage or multistage centrifugal pump – firefighting -Standard DIN EN 14466 Performances Flow min 1500 lit/10 bar Manufacturing material - Impeller, pump case and top cover manufactured of aluminum and other materials resilient to unclean water and dirt. Engine - pump aggregate specification Two-stroke or four-stroke Fuel - Petrol Reservoir capacity: Minimum 25 lit Power: Minimum 45 kW Cooling system: Air or water cooling Starter: Electrical and manual Alternator for charging the bateries Accumulator Mandatory conditions Possibility to start the pump with pullstring and when the batery (accumulator) is empty Outlet Starter batery 12V/ 30Ah System for fast air extraction from thrust hose and intake of water Automatic vacuum device (discharge of air from intake line and draw-in of water) Intake part ”Storz” connection A with blind connection A and safety chain or other type of safeguard Outgoing part Thrust part (valves) with two outlets B ”storz” connection, with blind connections B and safety chain or other type of safeguard Connecting drive aggregate with pump by clutch Control pannel Top cover, control pannel with engine control, vacuum measurer, pressure manometer, clock counter (working hour), acceleration handle Indicators – signal lamps for fuel, oil and light Lightning Lightning for main board and work lightning Carrier 4 rotating handles for easier manipulation Pump weight (maximum) 165 kg (ready for work) Top cover of the pump Red Additional equipment: Intake hose F110, length 1,5 m, according to standard DIN 14557 – 8 pcs Intake box F110, according to standard DIN 14362 – 2 pcs Thrust hose F75, according to standard DIN 14811 – 4 pcs Thrust hose F52, according to standard DIN 14811 – 4 pcs Dividing line B/C-B-C, according to standard DIN 14345 – 1 pc Transient connector F 75/52, according to standard DIN 14342 – 4 pcs Universal wrench for connecting and disassembly of the hose – 4 pcs Universal nozzle with turbine, according to standard DIN 14365 – 2 pcs Rope for safeguard of intake line in the bag – 2 pcs Rope for disburdening of intake line in the bag - 2 pcs Set of spare spark-plug Set of screwdrivers Set of wrenches Manual for usage of the pump and list of spare parts translated in Serbian language Supplier has to deliver a manual for maintenance and exploitation of the pump in Serbian language Guarantee minimum 2 years without limitation in number of working hours. |  |  |  |
|  | TRAINING |  |  |  |
|  | Supplier is obligated to deliver training for operating the pump and to put the pump in operation. |  |  |  |