CORRIGENDUM No: 1

to the

CONTRACT NOTICE

Publication Ref: RORS-36/ Procurement no. 3

- Subject: Works Regarding Public Lightning System for Higher Energy Efficiency

Location: Romania/Recas City

The contract notice is corrected or modified as follow:

Volume 1: SECTION 1: INSTRUCTIONS TO TENDERERS

Point n° 12:. INFORMATION/DOCUMENTS TO BE SUPPLIED BY THE TENDERER

Point n° 12.2

Instead of:

Technical and professional capacity of candidate:

[…]

- Tenderer has at least 2 employees with certificate for work on heights.

[…]

Read

Technical and professional capacity of candidate:

[…]

- Tenderer has at least 2 employees properly equipped for work on poles.

[…]

Volume 3: TECHNICAL SPECIFICATIONS

TECHNICAL DATA SHEET NO. 1/ Brackets and gripping brackets lighting

Point n° 1.1

Instead of:

Gripping arm made of hot-dip galvanizes steel according to SR EN ISO 1464, witth minimum external diameter: Ø48-60 mm

Read:

Gripping arm made of hot-dip galvanizes steel according to SR EN ISO 1461, with minimum external diameter: Ø48-60 mm

Point n° 3.1.

Instead of:

Warranty for the clamping brackets for at least 24 months.

Read:

Warranty for the clamping brackets for at least 60 months.

Point n° 3.1.

Instead of:

Warranty for energy cable – minimum 24 months.

Read:

Warranty for energy cable – minimum 60 months.

All other terms and conditions of the contract notice remain unchanged. The above alterations and/or corrections to the contract notice are integral part of the contract notice.