# ANNEX II + III:	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

- Contract title: Procurement of hardware and software specialized for regional medical information and data input system for project "Romania-Serbia joint initiative against cancer in cross-border region: improved diagnosis and treatment of malignant tumors - ROSECAN"

Publication reference: 2018/S 178-404394

Columns 1-2 should be completed by the Contracting Authority

Columns 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the Contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the Contracting Authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words “compliant” or “yes” are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

| 1. Item Number | 2. Specifications Required | 3. Specifications Offered | 4. Notes, remarks, ref to documentation | 5. Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 1 | SERVER FOR THE SYSTEM DATABASE Quantity: 12 units Technical requirement: - At least 2.2GHz processor / 4-core / 8MB - At least 24GB RAM - At least 2 x 500 7200rpm hard disks in RAID1 configuration |  |  |  |
| 2 | WORKSTATION Quantity: 18 units Technical requirement: - Processor at least 2GHz / 2- core - At least 16GB RAM - Hard disk of at least 500GB SATA 5,4KRpm - CD/DVD unit - USB Mouse, USB Keyboard with Serbian characters - Monitor for administration: at least 20" full HD - Medical diagnostic colour monitor: at least 21,3", LED, Maximum luminance at least 800cd/m2, DICOM calibrated luminance of at least 500cd/m2, contrast ratio of at least 1400:1, Response time: maximum 10ms Registered medical device product in Medicine and medical devices Agency of the Republic of Serbia |  |  |  |
| 3 | UPS FOR THE SYSTEM Quantity: 12 units Technical requirement: - Uninterrupted power supply of at least 800VA. |  |  |  |
| 4 | RACK FOR SERVER Quantity: 12 units Technical requirement: - Rack at least 12U. |  |  |  |
| 5.1 | Picture archiving and communication system - PACS Quantity: 1 unit Technical requirement: - Work on the "Microsoft Windows" platform (supported 32-bit and 64-bit versions of operating systems: Minimum MS Windows 7 - The use of SSL certificates for security Supports an unlimited number of named users - The system supports different user rights depending on the function: a radiologist, technician, clinician - Setting the period of time for logout in case of inactive users - The integration of all DICOM compliant modalities in the system (CT, MR, CR, US, Angio room, Mammography) - Acceptance and archiving unlimited number generated procedures (studies) per year in accordance with archive size - The system supports DICOM standards (DMWL, MPPS, Query / Retrieve) - The choice of image compression for individual modalities (lossy or lossless) - Automatic backup of database - Web based system administration - Scalability (ability to increase archive capacity) - Modularity (possibility of adding new application functionality - modules) - Desk-top and Web client - Support for three language for user interface Romanian, English and Serbian Advanced tools available on all workplaces with concurrent access – 12 Users Multiplanar reconstruction (MPR) with following functionalities: - Adjusting the thickness and spacing of the study Magnification, moving (Pan) Change the contrast (Window Level) - The default contrast for the lung, soft tissue, bone, head, liver - Possibility of making curved cross-section (Oblique MPR) - The possibility of making a double curved section (Double-oblique MPR) - Curved reformation (CPR) - MIP, MinIP, AvglP - Printing MPR reformatted images - Creating annotations and regions of interest Reformation with a new number and thickness of slices - Export of processed images as a new DICOM series 3D functionalities - Automated segmentation - MIP processing - Removing the patient table with touch of a button - Remove bones with touch of a button - Removing fragments - Volume measurement - Distance measurement - View in multi window - Export 3D images for archiving Functionality of blood vessel analysis - Calculation of stenosis - Measurement of the maximum and minimum diameters - Automated tracking the 4entreline of the vessel - 3D view of the chosen vessel - Manual changes the contour of the vessel - The graph display of vessel diameter in length and the straitened blood vessel Speech recognition software – 12 Users - Serbian radiological dictionary of at least 20000 words in speech recognition software; - Dictation and on-line display in RIS, with a minimum recognition rate of 95% in Serbian; The system should be able to install on Cloud and the central server; - Possibility of software integration in RIS, Word and Libre Office; - The ability to add new words from the user side; - Possibility to dictate to templates via voice command; - Possibility of preparing templates by radiolog Standard tools available on all workplaces – Unlimited users - A comparison of two or more series of images from the same or different studies of the same patient, the possibility of automatic comparison of older and current picture of the patient - Search by multiple criteria: patient name, patient ID, accession number, modality, and so on. - Creating work lists for easy search - Variable user interface (graphic) for each user - The possibility of "recording the current screen" for the studies, so that the radiologist can continue later diagnostic with the same look of the screen that was before ("in the same place where he left") - CINE-mode, Image rotation (90 °, 180 °, -90 °), Image flip (vertical, horizontal) - Automatic selection of predefined contrast "window level" for the lung, head, liver, bone, soft tissue - "Hounsfield" value (next to the cursor) - Zoom, Magnifying glass, Ruler, Spine Labelling, - Angle measurement, Invert (negative/positive) - Annotations and arrows to highlight the details - The ability to mark key images - Possibility to display mammography images side by side - Display true size images for mammography - Possibility to reset the zoom, contrast, orientation, measurements and annotations - Print selected images on the film, along with all tags added on any medical printer of dry technology - Choosing the print format (size film, portrait / landscape, number and distribution of images on a single film) - Export images in JPG format - Archiving on CD/DVD with Viewer program Zero footprint viewer available on all workplaces – Unlimited users - Study access from any computer, tablet or smart phone - Access via user name and password - Unlimited access within the hospital network - Unlimited access outside the hospital network through a VPN, static IP addresses, or other ways Standard tools - Search by multiple criteria: patient name, patient ID, date - Window Level, Zoom, Flip, rotate, Annotations in the image, Ruler, Arrow-indicator, Cine mode, - Angle measurement Tools for manipulating CT studies in zero footprint viewer – Unlimited users - MPR, MPI, MINIP, AVGIP Making curved section - 3D reconstruction Window Level, Zoom, measuring distances, measuring surface, inversion, Hausfield unit’s measurement - The default contrast of the lung, soft tissue, bone, head, liver - Automatic removal of the patient table - Exporting images - Segmentation - Registered medical device product in Medicine and medical devices Agency of the Republic of Serbia |  |  |  |
| 5.2 | Patient portal – Web based portal for the patients and doctors Quantity: 1 unit Technical requirement: - Dashboard Service – A presentation of most important information from the portal; - Radiology Service – Exchange of information on radiological diagnose and information on treatment; - Patient acces through portal to his personal radiology information, images and medical treatment reports, manipulating (download and save on personal computer or any other media in DICOM format) and sharing through portal with other users, patients or doctors - Two steps autentification procedure (min. username, password and pin code for medical information) - Lifestyle Service – Monitoring user parameters, measurement of physical activity and habits, and recommendations; - Prevention Service – Authentic information on common topics, medical atlases, and explanations of medicines; - Heltertalk Service – Some form of a social network with a mailbox, listing a doctor or patient and groups; - Notification Service – widespread communication with users via email, mobile phone or the portal itself for changes on the portal - Online storage of medical information for each patient - Access to the data from any device at any time |  |  |  |
| 5.3 | Radiology Information System – 150 Users Quantity: 1 unit Technical requirement: - User interface in Serbian language; - The application supports the business management function of connecting radiological equipment DMWL (DICOM Modality Worklist); - The application supports the business management function of worklist radiological modalities; support in radiographer’s work; - The application supports the business management function of changing patient status; integration with PACS system; - The application supports the business reporting function by number of completed studies at daily, monthly and annual levels; - The application supports the business reporting function by radiologist’s comparison according to the number of studies made at daily, monthly and annual levels; - The application supports a business management function of automatic opening radiologic images on the diagnostic radiologist station. When selecting a patient from the worklist, radiological images and reports shows in the PACS application; - The application supports the automatic creation of basic medical documentation based on the law of the Republic of Serbia; - The application supports the automatic creation and sending of predefined reports (electronic format) for the purposes of health statistics; - The application supports the automatic creation and management of an electronic invoice (account); - The application supports central automatic backup of non DICOM data; - The application supports the use official nomenclatures and classifications in the Republic of Serbia (MKB 10, JKL, municipalities, settlements, professions, specialization, medical equipment...); - Records of consumable material and automatic connection with procedures; - Integration with existing BIS (Hospital Information System) system (communication - exchange of HL7 messages); - Electronic signing of the consent by the patient; Management of additional medical data and questionnaires; - Functionality for entering laboratory findings of interest (urea, creatinine, etc ); - Functionality for connecting with LDAP systems with user names and passwords; - Functionality for writing all actions and changes within the system, at least those related to system users and their actions; - Functionality for entering a template with the functionality for defining and dividing patterns among users; - Functionality for reports archive for all patients; Input of glomerular filtration rate or determination of eGFR based on the level of kretinin; - Modular design, any user in the system depending on the duty has an appropriate module available (e.g. reception, radiology engineer, specialist radiologist, - ultrasound diagnostic, etc.). The system allows several modules to be opened simultaneously; - View of demographics data of patient; - Print functionality of anonymized findings to protect the patient's privacy; - Functionality of creating individual forms of reports for different procedures and users - Functionality of signing documents by entering scanned signatures; - Authorization functionality via PIN; - Input, display, referral diagnosis according to MKD10 catalogue; - Arrangement of examinations for diagnostic units; (CT worklist contain only CT patients, ie precisely defined modality); - Functionality of defining certain types of examinations in certain days, determined by days / weeks / months; - Automatically deploy search to the first possible free term, separate work from non-working days, scheduling function depending on the degree of exam urgency; - Functionality for direct input of urgent examinations in schedule; - Functionality for defining the duration of the exam for each study; - Functionality for making personal schedules and worksheets (for radiologist’s engineers); - Functionality for scheduling by workplaces; - Functionality for scheduling by diagnostic disciplines and worksheets by diagnostic disciplines; - Presentation of the associated data (images, PDF, scanned documents) and attaching to radiological card of the patient; - Supported system for dictation of reports and audio file storage; - Barcode support; - Support for additional numbering of patients; - Defining VIP and other statuses; - Functionality of management of predefined radiological reports by user, diagnostics or procedure; - Functionality of block writing of radiological findings; - Possibility of radiological consultation via the Web zero footprint browser or via email; - Functionality of inserting a radiological image in a radiological report. |  |  |  |

| All items | Authorization that the tenderer is approved distributor of the equipment; If the tenderer is not the manufacturer of the equipment, it should provide a proof (certificate or confirmation by the manufacturer) that it is approved/authorized distributor of the equipment in question. |  |  |  |
| --- | --- | --- | --- | --- |
| All items | Installation performed by contractor or authorised service provider. All the equipment must include all necessary parts and standards for its installation. and Testing of all basic functions of the instrument on a set of producer’s standard samples commonly used for the corresponding instrument. Installed equipment must be tested as system, compatible with existing system. Qualified experts: - Project manager With minimum 3 years of professional experience in implementation of medical (IT) systems. - Infrastructural coordinator With minimum 5 years of professional experience in medical IT infrastructure. - Minimum 2 experts, medical (IT) systems Experts must have one of following certificates: HL7 Fundamental course (or E-learning course); HL7 CDASpecialist; HL7 V2 Control Specialist (min. V2). - Minimum 15 engineers / technical experts for installation; - Minimum 15 workers for installation and testing. Tenderer should provide: Statements in free format, copies of relevant certificates and CVs in free format. |  |  |  |
| For items 5.1; 5.2 and 5.3 | Training for minimum 50 persons (upon delivery) on equipment handling (familiarisation during installation - working with the equipment in all basic functions of the equipment), equipment maintenance. Details of proposed training methodology, shall be presented in the tender proposal and shall refer to the related equipment |  |  |  |
| All items | Technical documentation for equipment (Operating manuals/ Users Guide/ Equipment operating instructions/ Cleaning procedures/ Maintenance procedures/ Calibration procedures) upon delivery. |  |  |  |
| All items | Warranty Tenderers must provide local reliable warranty service agent providing maintenance and the rapid supply of equipment spare parts and consumables for the Warranty duration of one year. Offer must include warranty service description including: - Service organisation contact data including name, postal address, telephone number, fax number and e-mail address; - Help Desk (phone) support, which must be available during working hours, 8AM – 6PM; - Guaranteed maximum response time to submitted maintenance support request (fax or e-mail) of 1 (one) working day; - Guaranteed that any requests for services will be attended to within 24 hours; - Guarantee that all items can be repaired or alternatively replaced within a maximum of 72 hours; - Guarantee that genuine spare parts and consumables will be available for a period of minimum 3 years from the date of final acceptance of the equipment. |  |  |  |
| All items | Commercial warranty 1 year (after the end of 1 year standard warranty) in accordance with the conditions laid down in Article 32 of the General Conditions and Article 33 of the Special Conditions. Detailed description of the organisation of the proposed service and description of the Manufacturer’s commercial warranty shall be included in the offer. |  |  |  |