# ANNEX II + III :	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

Contract title: Acquisition of laboratory equipment, laboratory materials and reagents, small equipment                                  p 1 /…

Publication reference: RORS 308 / Politehnica University Timisoara  / 5

Columns 1-2 should be completed by the Contracting Authority

Columns 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the Contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the Contracting Authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words “compliant” or “yes” are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

| 1. Item Number | 2. Specifications Required | 3. Specifications Offered | 4. Notes, remarks, ref to documentation | 5. Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| LOT 1 Spectometer |  |  |  |  |
| 1 | UV-VIS spectrophotometer (minimum characteristics requested): Mode of operation: photometric analysis (absorbance or transmittance measurements at a single wavelength or at multiple wavelengths), spectral analysis (the spectrum of the sample obtained by scanning wavelengths, zoom processing (magnifications or decreases), search for maxima, peak or valley selection, calculation of peak area, correction of baseline, comparisons and overlays of spectra), quantitative analysis (generation of calibration curve after measurement of standards, calibration curves according to degree I or II); kinetic analysis (variation of absorbance or transmittance as a function of time), scans according to time (measurements of the variation of absorbance, transmittance or energy as a function of time); Wavelength range: min. 190-1100 nm; Wavelength accuracy: +/- 0,3 nm; Wavelength reproducibility: 0,1 nm; Optical design: Double/Dual beam Photometric range: ± 4 Abs; Photometric accuracy: < 1 %; Scanning speed: minimum 12.000 nm/min; Photometric stability: ±0,0006 Abs/h (after 30 min warmup); Baseline flatness: ±0,001 Abs (baseline corrected); Delivery will include operating software, equipment programming, storage and data processing: Control system for equipment, data storage and processing: processor minimum i5 (or equivalent), minimum 3,20GHz, memory RAM minimum 8 GB, hard disk minimum 480 GB, video card minimum 2GB DDR5, DVD-RW, monitor LED minimum 18", mouse, keyboard , stick USB minimum 32Gb Warranty minimum 1 year Quantity: 1 pcs. |  |  |  |
| LOT 2 Field analysis system |  |  |  |  |
| 1 | Portable spectrophotometer (minimum characteristics requested): Display mode: transmittance, absorbance, concentration, wavelength scans; Beam path: spectral reference beam technology; Photometric measuring range: ± 3 Abs (wavelength range 340–900 nm) Wavelength range: minimum 320-1100 nm; Wavelength accuracy: +/- 1,5 nm; Wavelength reproducibility: +/- 0,1 nm; Wavelength resolution: 1 nm; Spectral bandwidth: 5 nm; Photometric accuracy: 1%; Cell compartments: 13 mm round cells, 10 mm and 50 mm rectangular cells; Programmable methods -: minimum 200; User programs: minimum 100; Stored programs (pre-installed tests); Calibration and wavelength selection: automatic; Sample identification: 2D barcode reader; Used technology: RFID (label containing information about the place of sampling, the author of the sampling, the date and time) Data log: minimum 2000 readings (result, date, time, sample ID, user ID); Interfaces: USB port and Ethernet port; Display: touch screen; Ambient operating requirements: -10 … 40 °C, maximum 80 % relative humidity (without condensate formation); Housing rating: IP40 (excluding interfaces and power supply); Protection class: class I; Photometer Mass: max. 4,5 Kg Delivery will include operating software, equipment programming, storage and data processing; Control system for equipment, data storage, processing: processor i5 (or equivalent) minimum 3,2 GHz, memory RAM minimum 8 GB, hard disk minimum 480 GB, video card minimum 2GB DDR5, DVD-RW, monitor LED minimum 18", mouse, keyboards, stick USB min. 32Gb Warranty minimum 1 year Quantity: 1 pcs |  |  |  |
| LOT 3 Laboratory materials and reagents, small equipment |  |  |  |  |
| 1 | Item name: Automatic pipette 100-1000 uL, accuracy ±2.0%, precision ±0.7%, with set of tips included, autoclavable, with individual calibration certificate, with the series identification and pipette no. Quantity: 2 pcs |  |  |  |
| 2 | Item name: Filter paper 40x40 cm, 80g/mp, 200 pcs/set Quantity: 3 sets |  |  |  |
| 3 | Item name: Filter paper 58x58 cm, 80g/mp, 200 pcs/set Quantity: 3 sets |  |  |  |
| 4 | Item name: Silicone tubing, translucent, 6 x 10 mm Quantity: 20 m |  |  |  |
| 5 | Item name: Silicone tubing, translucent, 8 x 10 mm Quantity: 20 m |  |  |  |
| 6 | Item name: Evaporating dish, porcelain, flat bottom, min. 180 ml, D-100 mm; Withstand temperatures up to 1150 ºC. Shallow form with lip. Glazed inside Quantity: 12 pcs |  |  |  |
| 7 | Item name: Evaporating dish, porcelain, flat bottom, 300 ml, D-115 mm; Withstand temperatures up to 1150 ºC. Shallow form with lip. Glazed inside Quantity: 6 pcs |  |  |  |
| 8 | Item name: Draining rack, Wire, epoxy coated. Min. Eight pegs 110 mm and min. 24 pegs 80 mm long Made from chemically resistant epoxy coated steel. Suitable for use with plastic and glass labware. Integral free standing support Min. Dimmension: 300×100×400 mm Quantity: 1 pcs |  |  |  |
| 9 | Item name: Wipes for general applications, solvent resistant and fibre-free, high tear resistance, even when wet, min. 375×340 mm – min. 40 pcs/set Quantity: 5 sets |  |  |  |
| 10 | Item name: Volumetric flask, glass, 10 mL, class A, stopper included Quantity: 20 pcs |  |  |  |
| 11 | Item name: Volumetric flask, glass, 25 mL, class A, stopper included Quantity:20 pcs |  |  |  |
| 12 | Item name: Volumetric flask, glass, 50 mL, class A, stopper included Quantity: 10 pcs |  |  |  |
| 13 | Item name: Volumetric flask, 3.3 borosilicate glass, 50 mL, class A, blue marking, accuracy ±0,060ml, batch certificate included, stopper included Quantity: 2 pcs |  |  |  |
| 14 | Item name: Volumetric flask, glass, 100 mL, class A, stopper included Quantity: 20 pcs |  |  |  |
| 15 | Item name: Volumetric flask, 3.3 borosilicate glass, 100 mL, class A, blue marking, accuracy ±0,100ml, batch certificate included, stopper included Quantity: 2 pcs |  |  |  |
| 16 | Item name: Measuring cylinder, 3.3 borosilicate glass, capacity 10 ml, accuracy ± 0,1 ml, class A, batch certificate included Quantity: 2 pcs |  |  |  |
| 17 | Item name: Measuring cylinder, 3.3 borosilicate glass, Class B, capacity 5:0.1 ml, accuracy ± 0,1 ml Quantity: 5 pcs |  |  |  |
| 18 | Item name: Measuring cylinder, polypropylene, Class B, capacity 10 ml Quantity: 12 pcs |  |  |  |
| 19 | Item name: Measuring cylinder, 3.3 borosilicate glass, capacity 25ml: 0.5 ; accuracy ±0,25 ml, class A, batch certificate included Quantity: 10 pcs |  |  |  |
| 20 | Item name: Measuring cylinder, 3.3 borosilicate glass, 50 : 1 ml, accuracy ± 0.50 class A, batch certificate included Quantity: 10 pcs |  |  |  |
| 21 | Item name: Measuring cylinder, 3.3 borosilicate glass 100 : 1 ml, class A, batch certificate included Quantity: 10 pcs |  |  |  |
| 22 | Item name: Glass measuring pipette, class A, 1 : 0,01 ml, Batch certificate included Quantity: 15 pcs |  |  |  |
| 23 | Item name: Glass measuring pipette, class A, 5 : 0,05 ml, Batch certificate included Quantity: 10 pcs |  |  |  |
| 24 | Item name: Glass measuring pipette, class A, 10 : 0,1 ml, Batch certificate included Quantity: 10 pcs |  |  |  |
| 25 | Item name: Glass measuring pipette, class A, 25 : 0,1 ml, Batch certificate included Quantity: 10 pcs |  |  |  |
| 26 | Item name: Burette, capacity 25 mL, class A, calibrated to deliver, Batch certificate included, accuracy +/-0.05, stopcock PTFE Quantity: 3 pcs |  |  |  |
| 27 | Item name: Burette with PTFE straight stopcock, class A, Batch certificate included, capacity 10 mL, accuracy: ± 0,02 ml, graduation: 0,05 ml Quantity: 2 pcs |  |  |  |
| 28 | Item name: Burette with PTFE straight stopcock, class A, Batch certificate included capacity 50 mL, accuracy +/-0.05, graduation 0.1 ml Quantity: 1 pcs |  |  |  |
| 29 | Item name: Funnel with short stem Made of borosilicate glass, Øtop 100 mm Quantity: 10 pcs |  |  |  |
| 30 | Item name: Separatory funnel, conical with PTFE stopcock, capacity 500mL, mounth 29/32 Quantity: 2 pcs |  |  |  |
| 31 | Item name: Berzelius beaker, low form, capacity 50 mL, Graduated and with spout. Made of borosilicate glass Quantity: 10 pcs |  |  |  |
| 32 | Item name: Berzelius beaker, low form, capacity 100 mL, Graduated and with spout. Made of borosilicate glass Quantity: 20 |  |  |  |
| 33 | Item name: Berzelius beaker, low form, capacity 250 mL, Graduated and with spout. Made of borosilicate glass Quantity: 20 pcs |  |  |  |
| 34 | Item name: Erlenmeyer flask, narrow neck, capacity, 50 mL, Graduated Quantity: 10 pcs |  |  |  |
| 35 | Item name: Quartz spectrophotometer cuvette with lid UV-VIS, light path 10 mm, 2 /pac Quantity: 2 packs |  |  |  |
| 36 | Item name: Quartz spectrophotometer cuvette with lid UV-VIS, light path 5 mm, 2 /pac Quantity: 1 pack |  |  |  |
| 37 | Item name: Quartz spectrophotometer cuvette with lid UV-VIS, light path 1 mm, 2 /pac Quantity: 1 pack |  |  |  |
| 38 | Item name: Nebulizer cleaning thread Mark7, 3/pac Quantity: 2 packs |  |  |  |
| 39 | Item name: Stirpack 1: 12 cylindrical magnetic stirring bar set Plasticbox with 12 cylindrical stirring bars (ØxL): 3×8, 6×10, 4,5×12, 4,5×15, 7×20, 8×25 (2 pcs), 8×30 (2 pcs), 8×40, 8×45, 10×60 Quantity: 2 sets |  |  |  |
| 40 | Item name: Heating mantle with stirring electronic temperature regulation and magnetic stirring. Speed range: 0 – 1400 rpm, mantle temperature 450°C. Heating and stirring can be used simultaneously. Continuous operation. Fast, uniform and safety temperature regulation. Includes stirring magnet, aluminum rod and retort clamp for thermometer holding Capacity: 500 mL Quantity: 1 pcs |  |  |  |
| 41 | Item name: Flask, round bottom with two necks Made of borosilicate glass 500 ML 29/32 A Quantity: 1 pcs |  |  |  |
| 42 | Item name: Agate mortar with pestle, 50 mL; hardness: 6.5 on Mohs scale Quantity: 1 pcs |  |  |  |
| 43 | Item name: Rubber pipette filler with 3 valves for pipettes up to 100 mL Quantity: 5 pcs |  |  |  |
| 44 | Item name: Pipette bulbs, silicone, autoclavable, for Pasteur pipettes (10 pieces/set) Quantity: 20 set |  |  |  |
| 45 | Item name: Spatula with spoon, stainless steel, length 150 mm Quantity: 5 pcs |  |  |  |
| 46 | Item name: Filter paper, medium flow rate, Ø 110 mm, 100 pcs/pack (equivalent to Whatman 93) Quantity: 2 packs |  |  |  |
| 47 | Item name: Filter paper, very fast flow rate, Ø 110 mm, 100 pcs/pack (equivalent to Whatman 114) Quantity: 2 packs |  |  |  |
| 48 | Item name: Filter paper, fast flow rate, Ø 110 mm, 100 pcs/pack (equivalent to Whatman 5) Quantity: 2 packs |  |  |  |
| 49 | Item name: Burette clamps, polypropylene, for 1 burette Quantity: 2 pcs |  |  |  |
| 50 | Item name: Burette clamps, polypropylene, for 2 burettes Quantity: 2 pcs |  |  |  |
| 51 | Item name: Retort stand, metal sheet with rubber lining, chromium plated rod, 500-600 mm height, 10 mm diameter Quantity: 2 pcs |  |  |  |
| 52 | Item name: Tripod stand, iron stand, chromium plated rod, 500-600 mm height, 10 mm diameter Quantity: 2 pcs |  |  |  |
| 53 | Item name: Condenser, straight shape (Liebig-West) Made of borosilicate glass LBG 3.3. Hose connector is designed for tubing Øinner 8 mm, 200 MM, 19/26 Quantity: 1 pcs |  |  |  |
| 54 | Item name: Centrifuge tube with graduation PP 50 ml, non-sterile, conical bottom, Autoclavable, Dimension : tube Ø - 29 mm, height - 115 mm , cap Ø - 33,5 mm, Set of 50 pcs Quantity: 1 set |  |  |  |
| 55 | Item name: Centrifuge tube with graduation PP 50 ml, Sterile (ethylene oxide), conical bottom, Autoclavable, Dimensiond : tube Ø - 29 mm, height - 115 mm , cap Ø - 33,5 mm, Set of 50 pcs Quantity: 1 set |  |  |  |
| 56 | Item name: DRP-110 - Screen-printed carbon electrode (set of 75 pcs) Quantity: 1 pcs |  |  |  |
| 57 | Item name: DRP-DSC4MM - Connector with 4mm for screen-printed electrodes Quantity: 1 pcs |  |  |  |
| 58 | Item name: Temperature sensor compatible with IKA RCT basic, PT 1000.70 (glass coated, for agrressive media) Quantity: 1 pcs |  |  |  |
| 59 | Item name: Ethyl alcohol PA, 99.5% min, 1 L Quantity: 20 L |  |  |  |
| 60 | Item name: Acetone recipient, min 5 litre packing Quantity: 2 packs |  |  |  |
| 61 | Item name: Nitric acid, min 67%, purity min., 2 kg packing Quantity: 2 packs |  |  |  |
| 62 | Item name: Hydrochloric acid, min 37% purity, min 2,5 litre packing Quantity: 2 packs |  |  |  |
| 63 | Item name: Sulphuric acid, min 95% purity, min 2,5 litre packing Quantity: 2 packs |  |  |  |
| 64 | Item name: AAS Standard solution, Cu, 500mL, 1000 mg/L, Supplied with certificate of analysis Quantity: 1 pcs |  |  |  |
| 65 | Item name: AAS Standard solution, Zn, 500mL, 1000 mg/L, Supplied with certificate of analysis Quantity: 1 pcs |  |  |  |
| 66 | Item name: AAS Standard solution, Pb, 500mL, 1000 mg/L, Supplied with certificate of analysis Quantity: 1 pcs |  |  |  |
| 67 | Item name: AAS Standard solution, Cd, 500mL, 1000 mg/L, Supplied with certificate of analysis Quantity: 1 pcs |  |  |  |
| 68 | Item name: AAS Standard solution, Co, 500mL, 1000 mg/L, Supplied with certificate of analysis Quantity: 1 pcs |  |  |  |
| 69 | Item name: AAS Standard solution, Ni, 500mL, 1000 mg/L, Supplied with certificate of analysis Quantity: 1 pcs |  |  |  |
| 70 | Item name: AAS Standard solution, Fe, 500mL, 1000 mg/L, Supplied with certificate of analysis Quantity: 1 pcs |  |  |  |
| 71 | Item name: AAS Standard solution, Mn, 500mL, 1000 mg/L, Supplied with certificate of analysis Quantity: 1 pcs |  |  |  |
| 72 | Item name: AAS Standard solution, K, 500mL, 1000 mg/L, Supplied with certificate of analysis Quantity: 1 pcs |  |  |  |
| 73 | Item name: AAS Standard solution, Ca, 500mL, 1000 mg/L, Supplied with certificate of analysis Quantity: 1 pcs |  |  |  |
| 74 | Item name: AAS Standard solution, Mg, 500mL, 1000 mg/L, Supplied with certificate of analysis Quantity: 1 pcs |  |  |  |
| 75 | Item name: AAS Standard solution, Ag, 500mL, 1000 mg/L, Supplied with certificate of analysis Quantity: 1 pcs |  |  |  |
| 76 | Item name: AAS Standard solution, Au, 500mL, 1000 mg/L, Supplied with certificate of analysis Quantity: 1 pcs |  |  |  |
| 77 | Item name: AAS Standard solution, Rh, 500mL, 1000 mg/L, Supplied with certificate of analysis Quantity: 1 pcs |  |  |  |
| 78 | Item name: AAS Standard solution, Pt, 500mL, 1000 mg/L, Supplied with certificate of analysis Quantity: 1 pcs |  |  |  |
| 79 | Item name: AAS Standard solution, Ir, 500mL, 1000 mg/L, Supplied with certificate of analysis Quantity: 1 pcs |  |  |  |
| 80 | Item name: Multiparameter standard, ICP-MS, Multi-element ICP standard 21 elements 1000 mg/L (Ag, As, Al, B, Ba, Bi, Cd, Co, Cr, Cu, Fe, Ga, In, Li, Mn, Ni, Pb, Sr, Tl, Zn, Si in HNO3 4%) - 100 mL Quantity: 1 pcs |  |  |  |
| 81 | Item name: ICP-MS, Tuning solution Tuning solution 1 in dil. nitric acid, 100 ml 8 Elements 100 mg/l : Ba, Be, Cu, In, Li, Mg, Tl, U Quantity: 1 pcs |  |  |  |
| 82 | Item name: Quick analysis kit NO2, 1-10mg/L, min. 100 determinations Quantity: 3 sets |  |  |  |
| 83 | Item name: Quick analysis kit NO3, 10-100mg/L, min. 100 determinations Quantity: 3 sets |  |  |  |
| 84 | Item name: Quick analysis kit NH4, 1-10 mg/L, min. 100 determinations Quantity: 3 sets |  |  |  |
| 85 | Item name: Quick analysis kit NH4, 10-100 mg/L, min. 100 determinations Quantity: 2 sets |  |  |  |
| 86 | Item name: Chitosan 100 g, Chitosan, M.W. 100,000-300,000 Quantity: 1 pcs |  |  |  |
| 87 | Item name: Tetra-Chloroauric(III) acid hydrate (≥49% Au) ≥99.9% (metals basis), HAuCl4, 1g Quantity: 2 pcs |  |  |  |
| 88 | Item name: Silver nitrate 99-100.5% Ph. Eur., 100g Quantity: 1 pcs |  |  |  |
| 89 | Item name: Sodium hydroxide 98.5-100.5%, pellets, analytical reagent, 1Kg Quantity: 1 pcs |  |  |  |
| 90 | Item name: Soluble starch - 1 kg, PA Quantity: 1, pcs |  |  |  |
| 91 | Item name: pH buffer solutions pH 4, 7, 9 - set (500 mL) Quantity: 1 set |  |  |  |
| 92 | Item name: Iron(III) nitrate nonahydrate 99.0-101.0%, analytical reagent, 1 kg Quantity: 1 pcs |  |  |  |
| 93 | Item name: Manganese chloride pa – 1 kg Quantity: 1 pcs |  |  |  |
| 94 | Item name: Manganese sulphate pa – 1 kg Quantity: 1 pcs |  |  |  |
| 95 | Item name: Potassium peroxymonosulphate, 100 g Quantity: 3 pcs |  |  |  |
| 96 | Item name: Iron(III) sulphate hydrate, Fe₂(SO₄)₃•xH₂O, 1 Kg Quantity: 2 pcs |  |  |  |
| 97 | Item name: Silver sulphate, 98% min., 50g Quantity: 1 pcs |  |  |  |
| 98 | Item name: LB broth (Lennox) – 500 g LB broth for the growth of E. coli and other enteric bacteria. Quantity: 1 pcs |  |  |  |
| 99 | Item name: LB broth (Miller's modification) – 500 g LB broth for the growth of E. coli and other enteric bacteria. Quantity: 1 pcs |  |  |  |
| 100 | Item name: Escherichia coli, ATCC/NCTC: 8739bottle, bottle x 10 diskettes Quantity: 1 set |  |  |  |

Unless otherwise specified, the requirements in this Technical Specifications are presented as minimum standard, which the offered goods must meet. The offers that will not satisfy completely and correctly the minimum requirements mentioned above, will be disqualified.
	When brands names/specifications referring to or describing products of a given brand or origin are used in this technical specifications, they are used in descriptive purposes only and should be interpreted as equivalent.