**CLARIFICATION**

**Ref:** RORS-337/TD03 – published at 02.12.2019 for acquisition of Laboratory furniture, instruments and other laboratory equipment – lot 1 (safety cabinet)

One potential tenderer requested following information:

**Question 1.**

For Lot 1, you specified the dimensions of the safety cabinet 1150 +/- 10x610 +/- x1700 +/- 100, thus closing the dimensions for only one manufacturer. We suggest that the dimensions have a deviation of + - 20%, so that other bidders can participate too?

**Answer:**

According to market analysis, requested dimensions are not available just from one manufacturer and they already contain possible deviations. Therefore, unfortunately we cannot accept your suggestion.

**Project Technical Deputy Manager**

 dr Zoran Stevanovic