PART A: INFORMATION FOR THE TENDERER

Name and address of the contracting authority: Regional Agency for Socio Economic Development – Banat Ltd., Čarnojevićeva 1, 23000 Zrenjanin, Republic of Serbia Title of the tender: Technical and IT equipment for the EE platform and EE Pilot action Reference number: RORS300/RDABanat/TD6 Date of launching: 31/12/2019

- INFORMATION ON SUBMISSION OF THE TENDERS

Subject of the contract:

The subject of this tender is:

- Provision of supplies as indicated in the technical information in the point 2 of these information;

Deadline for submission of the tenders:

The deadline for submission of tenders is 13/01/2020 at 12:00 hours. Any tender received after this deadline will be automatically rejected.

The Contracting Authority is obliged to provide answer to all questions received no latter then 3 days before the deadline and has to publish them on the same web sites where the tender was published. Questions may be submitted to irena.zivkovic@rcrbanat.rs until 08.01.2020 at latest.

Currency

Tenders must be presented in EUR or RSD

In case when the offers are submitted in national currencies, the exchange rate to be used for checking financial compliance with available budget (during financial evaluation), shall be InforEuro exchange rate for the month when the tender is launched

Award criteria:

- The sole award criterion will be the price. The contract will be awarded to the lowest compliant tender.

In case that one offer is received, the Contracting Authority shall check whether the offer is administratively and technically compliant with the requirements set by this tender documentation and financial offer is within the available budget.

Variant solutions will not be taken into consideration.

Award notification

The successful tenderer will be informed of the results of the evaluation procedure in written form.

Contract award notice will be published on the programme website. The estimated time of communication publishing of results to the tenderers is 7 days from the deadline for submission of tenders.

Address and meanings for submission of the tenders:

The tenderers will submit their tenders using the standard submission form available in the “Part B: Format of offer to be provided by the tenderer” of the tender dossier. The tender will be submitted in 1 original. Any tenders not using the prescribed form may be rejected by the contracting authority.

In addition to the offer the tenderer is required to provide the following supporting documentation:

- Copy of legal registration

- Proof of delivery of technical supplies under at least one contract valued at least 19.800 EUR within following timeframe: 3 years before submission deadline.

The tenders will be submitted in a sealed envelope, containing the following information:

- Name and address of the tenderer

- Title of the tender: Technical and IT equipment for the EE platform and EE Pilot action

- Reference number: RORS300/RDABanat/TD6

- The words: ‘’Not to be opened before the tender opening session’’ and ‘’Ne otvarati pre sastanka za otvaranje ponuda’’

The tenders will be submitted in person, by post or courier service to the following address:

Irena Živković,

Regional Agency for Socio Economic Development – Banat Ltd., Čarnojevićeva 1, 23000 Zrenjanin, Republic of Serbia,

The tenderers are reminded that in order to be eligible the tenders need to be received by the Contracting Authority by the deadline indicated above.

- TECHNICAL INFORMATION

The tenderers are required to provide supplies as indicated below. In the tenderer’s technical offer, the tenderers might indicate more details on the deliveries, including brand names if applicable, referring back to the below table.

| No. | Number of items | Title of item | Technical specifications |
| --- | --- | --- | --- |
| Supplies |  |  |  |
| 1.1. | 2sets | LoRa gateway | Consisting of: 8-channel ISM 868MHz Gateway - Certified for Europe 868 Mhz ISM bands - 27 dBm support for European region - ISM band scanning for optimum performance Gateway - Outdoors antenna - Frequency 868MHz - Peak gain minimum 3.8dBi - N-type connector - 5m cable with N-type connector - Accessories for outdoors instalment Internet gateway - 3G router - Support latest IEEE802.11n and IEEE802.11b/g WLAN standards - 2x Ethernet ports - 3G wireless router - WiFi network - SMA Antenna connector for 3G - SMA Antenna for WiFi - External SIM card holder - Remote management system support Important note: Contractor is expected to deliver and assemble one set/system in Gymnasium or Economic school in Zrenjanin which are adjacent (covering both schools) and one in Technical School (covering sensors installed in entire school) in Zrenjanin. Contractor is expected to provide all other necessary additional materials and services if necessary in order to make systems functional |
| 1.2. | 4pcs | Concentrator | - Connects to industrial equipment over Modbus RTU (RS485) - 2 x RS485 channels with minimum 2kV insulation - Max current 10A - Powered from 12V nominal supply - Collects data at a configurable interval - DIN rail mounted, max 4 modules space - Supports connection with the energy and heat meter over RS485 - Supports up to 4 x RS485 connections (4 equipment) - Supports antenna extension cable up to 5m - Transmits payloads over ISM band 868MHz to Gateway - AC/DC 12VDC power supply DIN rail mounted Important note: Contractor is expected to deliver and assemble 2 items Gymnasium or Economic school in Zrenjanin which are adjacent (covering both schools) and 2 in Technical School in Zrenjanin. Contractor is expected to provide all other necessary additional materials and services if necessary in order to make systems functional |
| 1.3. | 2pcs | Electric Energy Meter | Electric Energy Meter for control measurement of Electric Energy consumption in schools. - CT insertion - Modular construction for DIN rail, max 6 modules - Backlit LCD display - Built-in RS485 interface - Menu navigation buttons - Metrological LED for energy flow indication - High-accuracy true root mean square (TRMS) measurement - Active energy measurement according to EN62053-22 class 0.5s - Active and reactive energy meters, total and by individual phase - Current, Voltage, Power and Power factor for each phase - Includes cables and 16A three-phase circuit breakers - To be installed via compatible three phase current transformer mentioned below Important note: Contractor is expected to deliver and assemble 1 set for Gymnasium and Economic school in Zrenjanin which are adjacent (covering both schools) and 1 in Technical School in Zrenjanin. Contractor is expected to provide all other necessary additional materials and services if necessary in order to make systems functional. Installation will include: - Install & configure Energy Meter - Install & configure Concentrator with extended antenna - Install power supply - Test connection |
| 1.4 | 6pcs | Split-core current transformer | - Compatible with the three phase energy meter specified above - Split core - 500A (:5A or :1A) - Minimum hole diameter 35 mm - Maximum device size 100 mm x 70 mm x 60 mm Important note: Contractor is expected to deliver and assemble Split-core current transformer in Gymnasium and Economic school in Zrenjanin which are adjacent (covering both schools) and in Technical School in Zrenjanin. Contractor is expected to provide all other necessary additional materials and services if necessary in order to make systems functional. Installation will include: - Install current transformers |
| 1.5 | 3pcs | Heat Energy Meter | - The meters must be compliant with the local district heating company’s metrology accreditation. Minimum requirements must meet or exceed Kamstrup MULTICAL 602 specifications. - Integrator (battery or 230VAC) - Temperature range θ: 2 °C … 180 °C - Differential temperature range ΔΘ: 3 K … 178 K - Supports Modbus RTU (RS485) Important note: Contractor is expected to deliver and assemble 1 item in Gymnasium, 1 item Economic school and 1 in Technical School in Zrenjanin. Contractor is expected to provide all other necessary additional materials and services if necessary, in order to make systems functional. Installation will include: - Install & configure Heat Meter - Install & configure Concentrator with extended antenna |
| 1.6 | 75pcs | Ambient sensing device | - Measures ambient temperature, range 0°C to 50°C, resolution 0.01°C, accuracy ±0.2°C - Measure relative humidity, range 0 to 100 %RH, accuracy ±2 %RH - Measure atmospheric pressure, range 300hPa - 1200hPa, accuracy ±1hPa - Measure CO2, range 400ppm – 20000ppm - Measure volatile organic compounds, range 0ppb – 30000ppb - Measure illuminance, 0lux – 20000lux, resolution 0.1 lux - Detect presence, at minimum 2m distance - Battery powered - More than 3 months battery autonomy - Configurable sampling intervals - Mounted on the walls - Transmits payloads over ISM band 868MHz to Gateway Important note: Contractor is expected to deliver and assemble 25 items in Gymnasium, 25 items in Economic School and 25 in Technical School in Zrenjanin. Contractor is expected to provide all other necessary additional materials and services if necessary in order to make systems functional Installation will include: - Install & configure all Ambient devices on the walls - Install & configure Gateway with outdoors antenna - Install & configure 3G router - Test connection |
| 1.7 | 3pcs | Energy Screen | Smart TV set - Min screen size 32” - Support internet connection and web browsing Important notice: Contractor is expected to mount all three screens on visible wall location inside all three schools and connect it to existing Wi Fi and electrical grid. |
| 1.8 | 1pc | Server | - CPU: min 8 cores - CPU base clock speed: min 3.0GHz - Total CPU cache memory min: 12Mb - CPU TDP: max 65W - CPU Max Memory Bandwidth: min 40GB/s - RAM: min 16GB DDR4 with clock no slower than maximal supported by CPU, - SSD/HDD: min 1TB M.2 NVMe or better - External graphic card with at least 1x DisplayPort 1.4 and 1x HDMI connections - External DVD-RW drive - Aux: keyboard, optical mouse, all necessary cables. - LED monitor with screen min size 27” |

NOT TO BE FILED IN BEFORE CONTRACT SIGNING NOT TO BE SUBMITTED WITHIN THE OFFER!!!

FORMAT OF THE CONTRACT BETWEEN THE CONTRACTOR AND THE CONTRACTING AUTHORITY

CONTRACT TITLE: Technical and IT equipment for the EE platform and EE Pilot action

REF: RORS300/RDABanat/TD6

Concluded between:

Regional Agency for Socio Economic Development – Banat Ltd.,

Čarnojevićeva 1, 23000 Zrenjanin, Republic of Serbia

(Contracting Authority)

AND

<Title>

<Address of the contractor>

Official registration number/ VAT number>

(Contractor)

Article 1: Subject of the contract

The subject of the contract is the supplies as indicated in the contractor’s offer – ‘’Part B: Format of offer to be provided by the tenderer’’.

Article 2: Contract value

The total contract value for implementation of delivery of supplies indicated in the Article 1 is: <XXX EUR/RSD>.

- The contract shall be exempt from all duties and taxes (including VAT and custom taxes).

Article 3: Contracting documents

The documents which form the part of this contract are (by the order of precedence):

- Contract agreement

- Contractor’s offer as provided in the tendering phase – ‘’Part B: Format of offer to be provided by the tenderer’’

- Any other supporting documentation if applicable

For any issues not defined in this contract agreement the rules of General conditions will be applied

| C4e | Draft contract : General conditions (Annex I) | c4e_annexigc_en.pdf |
| --- | --- | --- |

http://ec.europa.eu/europeaid/prag/document.do?isAnnexes=true

Article 4: Deliveries and payments

The contractor will deliver without reservation the supplies indicated in the contractor’s offer ‘’Part B: Format of offer to be provided by the tenderer’’. The deliveries will be implemented within the indicated dates.

The Contracting Authority will pay to the contractor the supplies in the amount indicated in the Article 2 of this contract document.

In case the contract is concluded in EURO, and payments are made in national currencies, applicable exchange rate must be InforEuro exchange rate for the month of the issuing of invoice or pre-invoice in case of VAT exemption.

The payments will be issued by the following time schedule.

| Month |  | <EUR/RSD> |
| --- | --- | --- |
| 6 | Balance final payment | < 100 % of the contract value / Absolute amount > |
|  | Total | <Total contract value> |

Article 5: Duration of the contract

The duration of the contract is 6 months.

Commencement date is date of signature of contract by both parties

Article 6: Resolving of disputes

Any disputes arising out of or relating to this Contract which cannot be settled otherwise shall be referred to the exclusive jurisdiction of relevant Court of Law in accordance with the national legislation of the state of the Contracting Authority.

| For the Contractor |  | For the Contracting Authority |  |
| --- | --- | --- | --- |
| Name: |  | Name: |  |
| Title: |  | Title: |  |
| Signature: |  | Signature: |  |
| Date: |  | Date: |  |

Where applicable. For individuals, mention their ID card or passport or equivalent document - number