# ANNEX II + III :	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

Contract title: Field and laboratory spectrometric analysis system                                 p 1 /…

Publication reference: RORS 308 / Politehnica University Timisoara  / 7

Columns 1-2 should be completed by the Contracting Authority

Columns 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the Contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the Contracting Authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words “compliant” or “yes” are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

| 1. Item Number | 2. Specifications Required | 3. Specifications Offered | 4. Notes, remarks, ref to documentation | 5. Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 1 | Portable spectrophotometer (minimum characteristics requested): - The portable spectrophotometer will be used in the field and has to be light and compact. It must be able to perform a large number of tests with pre-programmed methods already built in. - Portability - It must be easy to hold and operate. - Ruggedness - The spectrophotometer must be built for rugged conditions. It must has a large, clear screen and a simple user interface that makes testing easy in even the most demanding conditions. - Graphical display - Interface: USB type - Operating mode: Transmittance (%), Absorbance and Concentration - Cuvette compatibility: 13 mm or 16 mm - Data storage: min. 500 measured values (Result, Date, Time, Sample ID, User ID according to GLP) - Optical system: Reference beam, spectral - Wavelength accuracy: ± 2 nm (range 340 - 800 nm) - Wavelength calibration: Automatic - Wavelength range: 340 - 800 nm - Wavelength selection: Automatic - Weight: max. 1.5 kg - Photometric accuracy: ± 0.003 Abs - Photometric linearity: < 0.5 % (0.5 - 2.0 Abs) - Photometric measuring range: 0 - 3 Abs (wavelength range 340 - 800 nm) - Power supply: 110 - 240 V / 50/60 Hz and rechargeable battery - Pre-programmed methods: min. 200 - User interface: English, Romanian - Sets of min. 50 tests / parameter for: Ammonium; Nitrite; Nitrate and CCOCr included at delivery Warranty minimum 1 year Quantity: 1 pcs. |  |  |  |
| 1. Item Number | 2. Specifications Required | 3. Specifications Offered | 4. Notes, remarks, ref to documentation | 5. Evaluation Committee’s notes |
| 2 | Fluorescence spectrophotometer (minimum characteristics requested): - Compact model - Measurement mode: quantitative analysis, wavelength scanning, time scanning - Detection sensitivity ≥ S/N 800 - Operating panel in standard configuration - Detection limit: better than 1x10-10 mol/L - Wavelength measurement range (excitation and emission): 220 – 720 nm - Wavelength accuracy: ±3 nm - Light source: xenon lamp of min. 150 W or Photodiodes - LED - Wavelength scan speed: up to min. 12.000 nm/min - Aberration-corrected concave diffraction grating: min. 850 lines/mm - Bandwidth: 2.5, 5, 10, 20 nm - Dark-current correction - Zero-point correction - Data storage capacity in stand-alone configuration: min. 50 sets of data - Minimal sample amount: max. 0.7 mL - Min. 2 cuvettes included at delivery - Solid sample holder included at delivery Warranty minimum 1 year Quantity: 1 pcs. |  |  |  |

Unless otherwise specified, the requirements in this Technical Specifications are presented as minimum standard, which the offered goods must meet. The offers that will not satisfy completely and correctly the minimum requirements mentioned above, will be disqualified.
	When brands names/specifications referring to or describing products of a given brand or origin are used in this technical specifications, they are used in descriptive purposes only and should be interpreted as equivalent.