# ANNEX II + III:	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

Contract title: Supply of medical equipment

p 1 /…

Publication reference: RORS 448-3

Columns 1-2 should be completed by the contracting authority

Columns 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

| Item Number | 2. Specifications Required | 3. Specifications Offered | 4. Notes, remarks, ref to documentation | 5. Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 1 | Laboratory refrigerator - Temperature range from 2C to 15C - Antibacterial epoxy coating - TFT monitor - Net capacity from 200 to 300 litters - Automatic defrosting Inslatation and after-sales service included. |  |  |  |
| 2 | Automatic analyzer for determining erythrocyte sedimentation rate: - 20 positions for samples - Reading time in one-hour mode up to 25 minutes Inslatation and after-sales service included. |  |  |  |
| 3 | Biochemical analyser: - Maximum speed greater than 240 samples per hour - Photometry 340-700 nm - 10 wavelengths - Reaction volume, minimum 180 uL - Number of positions for reagents: minimum 48 - Number of positions for samples, without positions for controls and standard: minimum 60 - Number of control positions and standard: minimum 16 - Continuous addition of samples and reagents without interruption of work - Liquid level detection (reagent, sample) - Non-changing quartz reading cuvettes - minimum 30 durable reaction cuvettes - Uses distilled water, no deionized water machine required - consumption less than 1.5 L of distilled water per hour - Cooling system for all reagents on the appliance Software in Serbian language. Inslatation and after-sales service included. |  |  |  |

Unless otherwise specified, the requirements in this Technical Specifications are presented as minimum standard which the offered goods must meet. The offers that will not satisfy completely and correctly the minimum requirements mentioned above will be disqualified.

When brands names/specifications referring to or describing products of a given brand or origin are used in this technical specifications, they are used in descriptive purposes only and should be interpreted as equivalent