# ANNEX II + III :	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

# ANNEX II + III :	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

- Contract title : Supply of Supply of Fire engine and equipment – Lot 3	p 1 /…

Publication reference : 324/DUMBRAVA/04

Columns 1-2 should be completed by the Contracting Authority

Columns 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the Contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the Contracting Authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words “compliant” or “yes” are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

When brand names / specifications /regulations / standards (e.g. SR EN, STAS, ISO XXX etc.) referring to or describing products of a given brand or origin are used in the technical specifications they are used in descriptive purposes only or should be interpreted as equivalent.

| 1. Item Number | 2. Specifications Required | 3. Specifications Offered | 4. Notes, remarks, ref to documentation | 5. Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 1. | Water pumps – 10 pieces Minimum requirements: Medium capacity water pumps for dirty water - Power: minimum 6 CP - Engine (diesel or gasoline) minimum 150 cm3 - Water flow: minimum 35 mc/h - Max depth: suction 7 m Accessories: - 3 '' connection: 2 pcs - 3 '' necklaces: 2 pcs - Sieve: 1 piece – Spark plug wrench - 20 m discharge hose - 5 m suction hose The Contractor will deliver a full set of instruction manuals in Romanian language. |  |  |  |