# ANNEX II + III :	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

- Contract title : Lab equipment and Chemicals	p 1 /…

Publication reference : 279/RDASB/TD3

Columns 1-2 should be completed by the Contracting Authority

Columns 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the Contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the Contracting Authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words “compliant” or “yes” are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

| 1. Item Number | 2. Specifications Required | 3. Specifications Offered | 4. Notes, remarks, ref to documentation | 5. Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 1 | Vacuum manifold with 16 seats and vacuum pump - 1 set Included: - Package of 1000 pcs. C18 SPE column with a capacity of 3 ml and a filling of 100 mg Vacuum pump: - "oil free" vacuum pump - Max. flow 34 ± 1 l / min - Max. flow 150 ± 10 mBar |  |  |  |
| 2 | Centrifuge - 1pcs - RPM: 500 - 6,000 min - 1 Adjustable in increments of 100 - max. RCF: 4,226 - max. capacity: 4 x 100 ml / 6 x 94 ml - choice of 9 rotors - easy operation with keypad - 2 individual deceleration stages - Max. Blood Tubes: 40 (13 x 75 ml) , 16 (16 x 100 ml) - Max. Conical Tubes: 16/4 (15/50 ml) - Temperature Control: Ambient - Must include a rotor with 28 places for 15ml cuvettes - Must include rotor and/or adapter for 50ml cuvettes |  |  |  |
| 3 | Type 1 Laboratory Water Purification System -1set - Type 1 water purification system capable of delivering up to 200L per day of Type 1 water on demand using pretreated water as a feed source. - Product water must have a resistivity of up to 18.2 megohms-cm, pyrogen (bacterial endotoxin) levels of less than 0.001 EU/ml and bacterial counts less than 1 CFU/ml. - Product flow rate should be 1,5-2 liters per minute - The water purification system should include all consumables needed for immediate start-up. - Cartridges will have quick-connections to remove the need for depressurizing the system for cartridge changes. - The unit will include a UV lamp that will emit both 185 nm and 254 nm wavelengths ensuring organic removal as well as maintaining a bacteria-free environment. - The system will include an inline ultrafilter for the removal of pyrogens. - An absolute 0.2μm polysulfone membrane filter is required as the final purification step as the water is being dispensed. - Continuous feed water monitoring alarms the user when feed water quality falls below the set point to prevent premature expiration of consumables. - The system is to include on/off as well as standby modes of operation - During standby, water will re-circulate within the system and that time span is user modified. - System must include an ion exchange resin system for connection to an ultrapure water system to ensure the required inlet water quality - One additional resin and one additional cartridge should be provided |  |  |  |
| 4 | Pipette and tips – 1 set - Automatic pipette 1-10ul with 2000 tips - Automatic pipette 10-100ul with 2000 tips - Automatic pipette 100-1000ul with 2000 tips - Automatic pipette 0.5-5ml with 400 tips - For each tips volume at least two racks must be supplied |  |  |  |
| 5 | Apparatus for evaporation in a stream of nitrogen – 1set - Sample preparation system with incubation, mixing and evaporation in a stream of nitrogen - The method of heating the samples by means of aluminum blocks in which there are adequate glass vials with samples. - Capacity of glass vials for samples: 3 ml and 5 ml - Total number of places for heating and evaporation of samples: minimum 27. - Number of vials: a minimum of 24 pieces of each required volume - A module for evaporating the sample in a stream of nitrogen is also required for the specified number of samples. - Must include tubing and/or necessary connections for nitrogen tank |  |  |  |
| 6 | Rotary Vacuum Evaporator - 1 set - Integrated safety lift-out function in case of power failure - Package includes woulff bottle - Water/oil heating bath with carrying handles - Locking button for fixing heating bath temperature - Clearly legible, glass-covered, black-and-white display panel - Locking mechanism: red indicator shows unlocked position of the vapor tube - Manual lift for precise positioning of the glassware - Adjustable immersion angle - Single-handed manual lift handling, suitable for left and right-handed operators - Speed range: 5 - 300 min-1 - Flask clamping mechanism with integrated push-off function for easy exchange of evaporation flasks Includes the following items: - Vacuum pump - Pear shape bottle 100ml - Pear shape bottle 250ml - Evaporating flasks cap 100ml - Evaporating flasks cap 250ml |  |  |  |
| 7 | Ultra Centrifugal Mill – 1set - Mill type: Ultra Centrifugal Mill - Speed setting 6,000-23,000 rpm - High peripheral speed 119 m/s – from 31 - 119 m/s - Material feed size < 10 mm - Final fineness< 40 µm - Material of grinding tools stainless steel - Push-fit rotor 12 teeth and sieve size 1.00 mm must be included - 900 ml cassette must be included - Cassette system for maximum sample recovery and easy cleaning - Optional volume cassette up to 600 ml sample batch size - Cassette temperature shown in display - Ring sieves of stainless steel, with reinforced rim – include sieve with 1.00 mm holes - Standards CE |  |  |  |
| 8 | Vortex for one test tube - 1pc - Construction material zinc alloy and technopolymer - Should have anti-sliding feet - Operational mode touch / continuous - Speed setting analog - Speed control electronic - Stirring speed 0 - 3000 rpm - Orbital diameter 4,5 mm |  |  |  |
| 9 | The ultrasonic bath - 1pc - The ultrasonic bath for cleaning, dispersion, degassing - Container volume: 5L minimum - Must have adjustable time setting - Standards CE |  |  |  |
| 10 | Sieve shaker – 1set - Sieve shaker for separation with efficiency even with short sieving times - 3-D throwing motion - Maintenance-free - Measuring range 20 µm - 25 mm - Sieving motion throwing motion with angular momentum - Max. batch / feed capacity 3 kg - Max. number of fractions 9 / 17 - Max. mass of sieve stack 4 kg - Amplitude digital, 1 - 100% (0 - 3 mm) - Time display digital, 1 - 99 min - Suitable for dry sieving yes - Suitable for wet sieving yes - Optional comfort clamping device - Set include sieves 200 x 50 mm: collecting pan , 25um, 63um, 150um, 1,00mm, 2,00mm, 3,15mm - Protection code IP 54 / IP 20 - Standards CE |  |  |  |
| 11 | QueChers LLE EN 15662 – 2000 sets - Set contains: Transfer tube + Empty Falcon Tube (50 ml) ISO 9001:2008 - ISO EN 17025:2005 - ISO Guide 34:2009 |  |  |  |
| 12 | Quechers d-SPE EN 15662 -C18 – 2000 sets - 1 Tube (15 ml) (900 mg MgSO4 + 150 mg PSA + 150 mg C18 EC ISO 9001:2008 - ISO EN 17025:2005 ISO Guide 34:2009 |  |  |  |
| 13 | Nylon Syringe 17mm – 4000 pcs - Nylon Syringe Filters 17mm diameter, 0,45um pore size |  |  |  |
| 14 | Nylon Syringe 17mm – 4000 pcs - Nylon Syringe Filters 17mm diameter, 0,22um pore size |  |  |  |
| 15 | Vials – 30 sets - AmberGlass 12x32 mm, 2mL screw neck vials with appropriate caps (100pc/set) |  |  |  |
| 16 | Laboratory fume hood 1500 mm – 1set - Worktop made of ceramic acid-resistant tiles, glued on a waterproof plate, 35 mm thick. The tiles were grouted with epoxy acid-resistant grout. A ceramic acid-resistant sink is built into the plate. - Laboratory cold water tap. - The base of the fume hood is made of painted steel pipes. 30x30x2 mm. - The upper part of the fume hood is formed on both sides by plates coated on the inside with ceramic acid-resistant tiles, grouted with epoxy acid-resistant grout. - The fume hood door is sliding type. Safety glass in a frame made of aluminum profiles. The door opens via polypropylene wheels and counterweights located in the rear of the fume hood. - Under the worktop there is an element with a door. Material plates formed on both sides. - Hinges with fine closing. - Ø10 metal plastic coated handles, ergonomically shaped, 285 mm long. - The extraction manifold of the fume hood is made of polypropylene with an outlet for connection to the ventilation. - Fume hood must have lights Acid-resistant roof fan for fume hood: - Air flow: minimum 1100 m3 / h - Rotation speed: V = 1,450 rpm - Diameter of inlet = minimum 200mm - Diameter of outlet = minimum 200 mm Mounting kit: - Fan bracket - Ventilation pipe up to 5 meters long Note: The Contracting Authority undertakes to prepare all the necessary technical conditions for the installation of the fume hood. |  |  |  |
| 17 | Analytical balance 220g / 0.1 mg – 1set - Scale measurement range 220 g - Scale reading d = 0.1 mg - Verification value e = 1 mg - Reproducibility: 0.2 mg Linearity +/- 0.3 mg - Internal calibration - Cup diameter: 91 mm (stainless steel) |  |  |  |
| 18 | Chemicals and standards – 1set - ACETONITRIL LC-MS purity (Quantity: 30l, packing 2.5l or smaller) - Methanol LC-MS purity (Quantity: 40l, packing 2.5l or smaller) - Propanol-2 LC-MS purity ((Quantity: 3l, packing 2.5l or smaller) - n-Pentane GC purity (Quantity: 1l) - Dichloromethane HPLC purity (Quantity: 3l) - Ammonium formate LC-MS purity (Quantity: 100g minimum) - Formic acid LC-MS purity (Quantity: 100ml minimum) - Acetic acid LC-MS purity (Quantity: 100ml minimum) - Water, LC-MS purity (Quantity: 40l, packing 2.5l or smaller) - Ethyl acetate HPLC purity (Quantity: 1l minimum) - n-Hexane GC purity (Quantity: 10l, packing 2.5l or smaller) - Toluene GC purity (Quantity: 2.5l minimum) - Acetone HPLC purity (Quantity: 2.5l minimum) - TriPhenylphosphat (Quantity: 100g) - Bis-nitrophenyl urea (Quantity: 10mg) - Chlorpyrifos-(diethyl-d10) (Quantity: 25mg) - Diuron D6 (dimethyl D6) (Quantity: 10mg) - Chloroform HPLC purity (Quantity: 1l) - Sodium sulfate unhyd (Quantity: 1kg) |  |  |  |
| 19 | Pesticide standards 1 set - Quantity: 100 ppm concentration of each pesticide, set for 2000 samples - With a minimum of 250 of these pesticide analytes, individual or in a mix: ANALIT; CAS#. 1; Acephate; 30560-19-1. 2; Acetamiprid; 135410-20-7. 3; Acibenzolar-S-Methyl; 135158-54-2. 4; Alachlor; 15972-60-8. 5; Aldicarb; 116-06-3. 6; Aldicarb-Sulfone; 1646-88-4. 7; Ametoctradin; 865318-97-4. 8; Ametryn; 834-12-8. 9; Aminocarb; 2032-59-9. 10; Ancymidol; 12771-68-5. 11; Atrazine; 1912-24-9. 12; Azaconazole; 60207-31-0. 13; Azamethiphos; 35575-96-3. 14; Azinphos-ethyl; 2642-71-9. 15; Azinphos-Methyl; 86-50-0. 16; Azoxystrobin; 131860-33-8. 17; Bendiocarb; 22781-23-3. 18; Benfuracarb; 82560-54-1. 19; Benodanil; 15310-01-7. 20; Benoxacor; 98730-04-2. 21; Bensulfuron-Methyl; 83055-99-6. 22; Bentazone; 25057-89-0. 23; Benzoximate; 29104-30-1. 24; Benzoylprop-Ethyl; 22212-55-1. 25; Bifenazate; 149877-41-8. 26; Bitertanol; 55179-31-2. 27; Boscalid; 188425-85-6. 28; Brodifacoum; 56073-10-0. 29; Bromacil; 314-40-9. 30; Bromoxynil; 1689-84-5. 31; Bromuconazole; 116255-48-2. 32; Bupirimate; 41483-43-6. 33; Buprofezin; 69327-76-0. 34; Butachlor; 23184-66-9. 35; Butafenacil; 134605-64-4. 36; Butoxycarboxim; 34681-23-7. 37; Cadusafos; 95465-99-9. 38; Carbaryl; 63-25-2. 39; Carbetamide; 16118-49-3. 40; Carfentrazone-Ethyl; 128638-02-1. 41; Carpropamid; 104030-54-8. 42; Chlorantraniliprole; 500008-45-7. 43; Chlorbromuron; 13360-45-7. 44; Chlorfenvinphos; 470-90-6. 45; Chlorfluazuron; 71422-67-8. 46; Chloridazon; 1698-60-8. 47; Chlorotoluron; 15545-48-9. 48; Chloroxuron; 1982-47-4. 49; Chlorpyrifos-Ethyl; 2921-88-2. 50; Cinosulfuron; 94593-91-6. 51; Clofentezine; 74115-24-5. 52; Clomazone; 81777-89-1. 53; Clothianidin; 210880-92-5. 54; Coumaphos; 56-72-4. 55; Crotoxyphos; 7700-17-6. 56; Cyanazine; 21725-46-2. 57; Cyazofamid; 120116-88-3. 58; Cycloate; 1134-23-2. 59; Cycloheximide; 66-81-9. 60; Cycloxydim; 101205-02-1. 61; Cycluron; 2163-69-1. 62; Cyflufenamid; 180409-60-3. 63; Cymoxanil; 57966-95-7. 64; Cyproconazole; 94361-06-5. 65; Demeton-S-Methyl; 919-86-8. 66; Demeton-S-Methylsulfone; 17040-19-6. 67; Desmedipham; 13684-56-5. 68; Desmetryn; 1014-69-3. 69; Diclobutrazol; 75736-33-3. 70; Diclofop-Methyl; 51338-27-3. 71; Dicrotophos; 141-66-2. 72; Diethofencarb; 87130-20-9. 73; Difenoconazole; 119446-68-3. 74; Diflubenzuron; 35367-38-5. 75; Dimefuron; 34205-21-5. 76; Dimethenamid; 87674-68-8. 77; Dimethoate; 60-51-5. 78; Dimethomorph; 110488-70-5. 79; Dimoxystrobin; 149961-52-4. 80; Diniconazole; 83657-24-3. 81; Dinotefuran; 165252-70-0. 82; Diphenamid; 957-51-7. 83; Dithiopyr; 97886-45-8. 84; Diuron; 330-54-1. 85; DNOC; 534-52-1. 86; Dodemorph; 1593-77-7. 87; Epoxiconazole; 133855-98-8. 88; Esprocarb; 85785-20-2. 89; Etaconazole; 60207-93-4. 90; Ethiofencarb; 29973-13-5. 91; Ethiofencarb-sulfone; 53380-23-7. 92; Ethiofencarb-Sulfoxide; 53380-22-6. 93; Ethiprole; 181587-01-9. 94; Ethirimol; 23947-60-6. 95; Ethofumesate; 26225-79-6. 96; Ethoprophos; 13194-48-4. 97; Ethoxyquin; 91-53-2. 98; Etofenprox; 80844-07-1. 99; Etoxazole; 153233-91-1. 100; Famoxadone; 131807-57-3. 101; Fenamidone; 161326-34-7. 102; Fenamiphos; 22224-92-6. 103; Fenarimol; 60168-88-9. 104; Fenazaquin; 120928-09-8. 105; Fenbuconazole; 114369-43-6. 106; Fenhexamid; 126833-17-8. 107; Fenobucarb; 3766-81-2. 108; Fenoxanil; 115852-48-7. 109; Fenoxycarb; 72490-01-8. 110; Fenpropimorph; 67564-91-4. 111; Fenpyroximate; 111812-58-9. 112; Fensulfothion; 115-90-2. 113; Fenthion; 55-38-9. 114; Fenthion-Oxonsulfone; 14086-35-2. 115; Fenthion-Sulfoxide; 3761-41-9. 116; Fenuron; 101-42-8. 117; Florasulam; 145701-23-1. 118; Fluazifop; 69335-91-7. 119; Fluazifop-P-Butyl; 79241-46-6. 120; Flubendiamide; 272451-65-7. 121; Flufenacet; 142459-58-3. 122; Flufenoxuron; 101463-69-8. 123; Flumetsulam; 98967-40-9. 124; Fluometuron; 2164-17-2. 125; Fluopicolide; 239110-15-7. 126; Fluopyram; 658066-35-4. 127; Fluoxastrobin; 361377-29-9. 128; Fluquinconazole; 136426-54-5. 129; Flurochloridone; 61213-25-0. 130; Flusilazole; 85509-19-9. 131; Flutriafol; 76674-21-0. 132; Forchlorfenuron; 68157-60-8. 133; Fosthiazate; 98886-44-3. 134; Fuberidazole; 3878-19-1. 135; Furathiocarb; 65907-30-4. 136; Griseofulvin; 126-07-8. 137; Halofenozide; 112226-61-6. 138; Haloxyfop; 69806-34-4. 139; Haloxyfop-Methyl; 69806-40-2. 140; Heptenophos; 23560-59-0. 141; Hexaconazole; 79983-71-4. 142; Hexaflumuron; 86479-06-3. 143; Hexazinone; 51235-04-2. 144; Hexythiazox; 78587-05-0. 145; Imazalil; 35554-44-0. 146; Imazaquin; 81335-37-7. 147; Imazethapyr; 81335-77-5. 148; Imibenconazole; 86598-92-7. 149; Imidacloprid; 138261-41-3. 150; Indoxacarb; 144171-61-9. 151; Ioxynil; 1689-83-4. 152; Iprovalicarb; 140923-17-7. 153; Isocarbophos; 24353-61-5. 154; Isoprocarb; 2631-40-5. 155; Isoprothiolane; 50512-35-1. 156; Isoproturon; 34123-59-6. 157; Isoxaben; 82558-50-7. 158; Isoxadifen-Ethyl; 163520-33-0. 159; Kresoxim-Methyl; 143390-89-0. 160; Linuron; 330-55-2. 161; Lufenuron; 103055-07-8. 162; Malaoxon; 1634-78-2. 163; Mandipropamid; 374726-62-2. 164; MCPA; 94-74-6. 165; Mefenacet; 73250-68-7. 166; Mefenpyr-Diethyl; 135590-91-9. 167; Mepanipyrim; 110235-47-7. 168; Mepronil; 55814-41-0. 169; Metamitron; 41394-05-2. 170; Metazachlor; 67129-08-2. 171; Metconazole; 125116-23-6. 172; Methabenzthiazuron; 18691-97-9. 173; Methamidophos; 10265-92-6. 174; Methiocarb; 2032-65-7. 175; Methiocarb-Sulfone; 2179-25-1. 176; Methiocarb-Sulfoxide; 268728. 177; Methomyl; 16752-77-5. 178; Methoprotryne; 841-06-5. 179; Metobromuron; 3060-89-7. 180; Metolachlor; 51218-45-2. 181; Metolcarb; 1129-41-5. 182; Metosulam; 139528-85-1. 183; Metoxuron; 19937-59-8. 184; Metrafenone; 220899-03-6. 185; Metsulfuron-Methyl; 74223-64-6. 186; Mevinphos; 7786-34-7. 187; Monocrotophos; 6923-22-4. 188; Monolinuron; 1746-81-2. 189; Myclobutanil; 88671-89-0. 190; Napropamide; 15299-99-7. 191; Neburon; 555-37-3. 192; Nicosulfuron; 111991-09-4. 193; Nuarimol; 63284-71-9. 194; Ofurace; 58810-48-3. 195; Omethoate; 1113-02-6. 196; Oxadixyl; 77732-09-3. 197; Oxycarboxin; 5259-88-1. 198; Paclobutrazol; 76738-62-0. 199; Paraoxon-Methyl; 950-35-6. 200; Penconazole; 66246-88-6. 201; Pencycuron; 66063-05-6. 202; Phenmedipham; 13684-63-4. 203; Phenthoate; 254642. 204; Phosalone; 2310-17-0. 205; Phosmet; 732-11-6. 206; Phoxim; 14816-18-3. 207; Picoxystrobin; 117428-22-5. 208; Piperonyl butoxide; 51-03-6. 209; Piperophos; 24151-93-7. 210; Pirimicarb; 23103-98-2. 211; Pirimicarb, Desmethyl-; 30614-22-3. 212; Pirimiphos-Methyl; 29232-93-7. 213; Primisulfuron-Methyl; 86209-51-0. 214; Prochloraz; 67747-09-5. 215; Profenofos; 41198-08-7. 216; Prometon; 1610-18-0. 217; Prometryn; 7287-19-6. 218; Propanil; 709-98-8. 219; Propaquizafop; 111479-05-1. 220; Propazine; 139-40-2. 221; Propetamphos; 31218-83-4. 222; Propham; 122-42-9. 223; Propiconazole; 60207-90-1. 224; Propoxur; 114-26-1. 225; Propyzamide; 23950-58-5. 226; Prosulfocarb; 52888-80-9. 227; Prothioconazole; 178928-70-6. 228; Pymetrozine; 123312-89-0. 229; Pyraclostrobin; 175013-18-0. 230; Pyrifenox; 88283-41-4. 231; Pyrimethanil; 53112-28-0. 232; Pyroxsulam; 422556-08-9. 233; Quinalphos; 13593-03-8. 234; Quinoxyfen; 124495-18-7. 235; Quizalofop-Ethyl; 76578-14-8. 236; Quizalofop-P; 94051-08-8. 237; Resmethrin; 10453-86-8. 238; Rimsulfuron; 122931-48-0. 239; Rotenone; 83-79-4. 240; Sethoxydim; 74051-80-2. 241; Simeconazole; 149508-90-7. 242; Simetryn; 1014-70-6. 243; Spinosad; 168316-95-8. 244; Spiromesifen; 283594-90-1. 245; Spirotetramat; 203313-25-1. 246; Spiroxamine; 118134-30-8. 247; Sulfotep; 3689-24-5. 248; Tebuconazole; 107534-96-3. 249; Tebufenozide; 112410-23-8. 250; Tebufenpyrad; 119168-77-3. 251; Tebuthiuron; 34014-18-1. 252; Teflubenzuron; 83121-18-0. 253; Tepraloxydim; 149979-41-9. 254; Terbumeton; 33693-04-8. 255; Terbuthylazine; 5915-41-3. 256; Terbutryn; 886-50-0. 257; Tetraconazole; 112281-77-3. 258; Tetramethrin; 7696-12-0. 259; Thiabendazole; 148-79-8. 260; Thiacloprid; 111988-49-9. 261; Thiamethoxam; 153719-23-4. 262; Thidiazuron; 51707-55-2. 263; Thifensulfuron-Methyl; 79277-27-3. 264; Thiobencarb; 28249-77-6. 265; Thiodicarb; 59669-26-0. 266; Thiophanate-Methyl; 23564-05-8. 267; Tralkoxydim; 87820-88-0. 268; Triadimefon; 43121-43-3. 269; Triadimenol; 55219-65-3. 270; Triazophos; 24017-47-8. 271; Trichlorfon; 52-68-6. 272; Triclopyr; 55335-06-3. 273; Tricyclazole; 41814-78-2. 274; Trietazine; 1912-26-1. 275; Trifloxystrobin; 141517-21-7. 276; Triflumizole; 68694-11-1. 277; Triflumuron; 64628-44-0. 278; Tritosulfuron; 142469-14-5. 279; Vamidothion; 2275-23-2. 280; Zoxamide; 156052-68-5. IMPORTANT NOTICE: Contractor will be required to perform verification of the performance of the LC-MS / MS System in the context of multi-residual pesticide analysis for a minimum of 200 analytes specified in this item |  |  |  |