# ANNEX II + III:	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

- Contract title: Supply of Equipments and Goods – lot4: Network Equipment

- Publication reference: 1414 / Politehnica University Timişoara / 3 - PROCUREMENT OF EQUIPMENTS AND GOODS

Column 1-2 should be completed by the Contracting Authority

Column 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the Contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the Contracting Authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words “compliant” or “yes” are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

| 1. Item Number | 2. Specifications Required | 3. Specifications Offered | 4. Notes, remarks, ref to documentation | 5. Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 1 | Item name: UPS 1000VA Quantity: 7 |  |  |  |
|  | Overload and short circuit protection |  |  |  |
|  | Power (minimum requirements): 1000 VA |  |  |  |
| 2 | Item name: Upper voltage Protection Equipement Quantity: 8 |  |  |  |
|  | Connecting Power (minimum requirements): 3kW |  |  |  |
|  | Nominal current: 10 A. |  |  |  |
|  | Operating Voltage: 230 V 50 Hz. |  |  |  |
| 3 | Item name: Security Equipements Quantity: 1 |  |  |  |
|  | Secured areas: 2 |  |  |  |
|  | Proximity sensors (minimum requirements): 4 pcs wireless sensors. |  |  |  |
|  | Smoke sensors (minimum requirements): 2 pcs wireless sensors. |  |  |  |
|  | Alarm system (minimum requirements): 1 pcs, wireless keypad, remote control arming, voice/sms calls in case of burglary. |  |  |  |
|  | Image capture (minimum requirements): 2 pcs Full HD IR video cameras. |  |  |  |
|  | Image recording (minimum requirements): Standalone DVR with 4 channels , video compression H.264 dual codec, PAL 120fps, continuous recording, audio In/Out 4/1, alarm In/Out 4/1, LAN [10/100, Ethernet (RJ45)] , TCP/IP, DHCP CMS, Web Browser, PTZ control (RS-485), USB Back-up, 2 USB 2.0 ports. |  |  |  |
| 4 | Item name: Network Equipements Quantity: 1 |  |  |  |
|  | Communications (minimum requirements): 2pcs wireless router – 200 Mbps, 2pcs Ethernet switch – 200 Mbps |  |  |  |
|  | Data transmission (minimum requirements): Patch cords 5 pcs@ 10 m length, 5 pcs@ 5 m length, 50 pcs RJ-45 UTP connectors. |  |  |  |