# ANNEX II + III:	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

- Contract title: Supply of Equipments and Goods – lot3: Video Transmission Equipment

- Publication reference: 1414 / Politehnica University Timişoara / 3 - PROCUREMENT OF EQUIPMENTS AND GOODS

Column 1-2 should be completed by the Contracting Authority

Column 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the Contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the Contracting Authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words “compliant” or “yes” are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

| 1. Item Number | 2. Specifications Required | 3. Specifications Offered | 4. Notes, remarks, ref to documentation | 5. Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 1 | Item name: Digital Video Camera Quantity: 1 |  |  |  |
|  | 500 fps at full VGA (640x480) |  |  |  |
|  | 85fps at 2048x1088 pixels, 125 fps at 1280 x 720 pixels, 300 fps at 800x600 pixels, 2620 fps at 128x128 pixels |  |  |  |
|  | lenses mount: C / CS |  |  |  |
|  | Color depth: 8 bit |  |  |  |
|  | Light sensitivity: ISO 3600 monochrome / 2400 color |  |  |  |
|  | LEMO connector |  |  |  |
|  | Memory up to 10,4 GB |  |  |  |
|  | PCI Express card |  |  |  |
|  | Ethernet express |  |  |  |
|  | Compatible Data acquisition software for camera control, recording settings, playback and data conversion |  |  |  |
|  | Auto store function |  |  |  |
|  | 230V AC/12V DC adaptor |  |  |  |
|  | IO connectors |  |  |  |
|  | Lenses: 50mm/f1.4 |  |  |  |
|  | Smart LED lights: 24V/45 W with power supply (110-30V/24 DVC) |  |  |  |