ANNEX II: TERMS OF REFERENCE

1.	BACKGROUND INFORMATION	2

1.1.	Beneficiary country	2

1.2.	Contracting Authority	2

1.3.	Relevant country background	2

1.4.	Current state of affairs in the relevant sector	2

1.5.	Related programmes and other donor activities:	2

2.	OBJECTIVE, PURPOSE & EXPECTED RESULTS	2

2.1.	Overall objective	2

2.2.	Purpose	2

2.3.	Results to be achieved by the Consultant	2

3.	ASSUMPTIONS & RISKS	2

3.1.	Assumptions underlying the project intervention	2

3.2.	Risks	2

4.	SCOPE OF THE WORK	3

4.1.	General	3

4.2.	Specific activities	3

4.3.	Project management	5

5.	LOGISTICS AND TIMING	5

5.1.	Location	5

5.2.	Commencement date & Period of implementation of tasks	5

6.	REQUIREMENTS	6

6.1.	Personnel	6

6.2.	Office accommodation	7

6.3.	Facilities to be provided by the Consultant	7

6.4.	Equipment	8

7.	REPORTS	8

7.1.	Reporting requirements	8

7.2.	Submission & approval of reports	8

8.	MONITORING AND EVALUATION	8

8.1.	Definition of indicators	8

8.2.	Special requirements	8

# BACKGROUND INFORMATION

## Beneficiary country

Serbia

## Contracting Authority

City of Zrenjanin

## Relevant country background

N/A

## Current state of affairs in the relevant sector

N/A

## Related programmes and other donor activities:

N/A

# OBJECTIVE, PURPOSE & EXPECTED RESULTS

## Overall objective

The overall objective of the project of which this contract will be a part is as follows:

To contribute to improve the competitiveness of Banat region as the leader of economic development and improvement of regional economic structure trough provision of regional fair facility.

## Purpose

The purpose of this contract is as follows:

- Site supervision services for the reconstruction works on the old sports hall in Zrenjanin

## Results to be achieved by the Consultant

The Consultant will be responsible for the following result:

- The supervision services shall ensure the reconstruction works are implemented and delivered on time, to a professional standard and are carried out in accordance with the requirements of the General Conditions for works contracts (Practical Guide of the EC), and national law and relevant acts and standards related to this type of the contract.

# ASSUMPTIONS & RISKS

## Assumptions underlying the project intervention

N/A

## Risks

N/A

# SCOPE OF THE WORK

## General

### Description of the assignment

The selected Consultant will be responsible for preparation of Site supervision services of reconstruction works on old sports hall “Medison” in Zrenjanin in accordance with Works Contract and General project design. The Consultant will be responsible for supervising the Works Contractor in the reconstruction of old sports hall “Medison” in Zrenjanin, and responsible for that the reconstruction works are completed on time and within the budget.

The Works component, which will be implemented in accordance with General project design, is related to adaptation of existing sports hall “Medison” (size: 42x65x9m) into multifunctional space dedicated to sports activities, exhibition events and fairs, concerts etc.

### Geographical area to be covered

Zrenjanin, Serbia

### Target groups

All target groups involved in the project implementation.

## Specific activities

Site supervision relating to inspecting the reconstruction works planned in  the “Hall of Banat Fairs” project is to be provided according to the Practical Guide of the EC, including:

The service will be contracted for 75 days of project implementation, and the offer is to be made for lump sum for the complete service of works site supervision.

Site/location info:

The old sports hall “Medison” site is in property of City of Zrenjanin. Hall is located in the centre of the city in the street Karađorđev trg bb. The hall is dedicated for reconstruction and adaption into multifunctional space as the part of the activities of the “Hall of Banat Fairs” project.

Documentation:

Works Contract for the reconstruction of the old sports hall in Zrenjanin and related General project design documents can be inspected at the premises of Contracting Authority and will be provided to the Consultant for the purpose of proper supervision of related works.

A) Supervision of reconstruction works

A.1) The Consultant should provide the necessary supervisory staﬀ to be employed during the period of implementation in executive and supervisory capacities in respect of the construction contracts. The Consultant will be delegated with all normal duties and powers of the "Engineer" for the implementation of the project.

A.2) It will be the responsibility of the Consultant to supervise all operations on behalf of the Contracting Authority and to ensure that the work of the Works Contractor is carried out in a proper workmanship and expeditious manner and in accordance with the contract documents.

A.3)  The Consultant will check, approve, reject and record, as the case may be, inter alia, the following:

- Contractor(s)' construction plant and equipment

- Materials of construction

- Concrete testing, procedures and results

- Construction of site works: concrete structures, steel structures, ﬁnishings, mechanical and electrical works and other utilities as required.

A.4) Review and approve all methods proposed by the Works Contractor for permanent and temporary works, formwork, etc. to ensure conformity with construction contracts and that the work can he carried out safely and in accordance with recognized and accepted practices.

B) Issue of Instructions to the Works Contractor

B.1) These services will relate to the fulﬁllment of the Works Contractor duties from drawing up and approval of the work program till the completion of works. The services will include issuing ﬁeld instructions in writing as required relating to:

- Quality of materials used in the works.

- Equipment and methods of construction

- Supervision, checking and testing of works carried out.

- Clariﬁcation of drawings and speciﬁcations.

- Progress of works to ensure that the work program is adhered to.

C) Advice to the Contracting Authority on Progress of Works

C.1) It is of utmost importance that the progress of the Works be in accordance with the programmed implementation schedule since the timely implementation of the project necessitates the strict adherence to the approved timetable. The Consultant will keep the Contracting Authority advised continuously as to work progress. If any deviation from the implementation schedule occurs, the Consultant will inform the Contracting Authority about the necessary measures to be taken to avoid dalliance of the project.

D) Inspection and Testing of Works

D.1) At all stages of implementation, the consultant shall carry out regular inspection of materials and workmanship and acceptance tests on his own cost to ensure compliance with the speciﬁcations. Where work on site at any time during the implementation does not meet the requirements of the speciﬁcations, it shall be removed or rectiﬁed.

D.2) Carry out inspection at time of substantial completion of the works and arrange, for issue of the Provisional Acceptance in coordination with the Contracting Authority.

D.3) Undertake periodic inspections during the Defects Liability Period and notify the Contracting Authority and Works Contractor of any defect on the construction works, and supervising their repair. Following the expiry of the Defects Liability period, arrange for issuing Final Acceptance Certiﬁcate in coordination with the Contracting Authority.

E) Approval of Payment Certificates

E.1) The consultant shall, in parallel with the Works Contractor, make ﬁeld measurements of all works done, which will be required for checking and certifying the Works Contractor Invoices.

E.2) Certify all of the Works Contractor monthly statement and ﬁnal statement within the time speciﬁed in the contract and forward to the Contracting Authority for arranging payment.

E.3) The Consultant shall, during the course of works, keep accurate records of all dates and quantities of work carried out, all payments made to the Works Contractor, and all materials and equipment supplied to the site.

F)  Reporting / Meeting related to Works

F.1 The Consultant will keep the Contracting Authority continually informed on the progress of the works, and all budgetary and ﬁnancial matters pertaining to the project, by submitting to him the following:

- Monthly progress reports including: information on measurements of works executed, equipment and material supplied to site, used and/or stored – quality tests on earthworks, concrete works, construction materials and equipment – labour force - variation orders if any - payments made to the Works Contractor – acceptance tests of structures - problems encountered and recommendation made by the consultant - photographs recording the progress of work.

- Final report on completion of works and/or Consultants' assignment. The consultant will prepare and advice on the issue of the Provisional and Final Acceptance Certiﬁcates.

F.2 Arrange site meetings with Contractor, which is carrying out subject works, at regular intervals to discuss progress and quality of works, and resolve any pertaining problem. Meeting minutes should be made for each meeting.

F.3 The Consultant shall issue Variation order and claims for extension of time or any change in works according to the contract after obtaining the approval of the Contracting Authority.  The Consultant shall also monitor the contract costs relative to the Contracting Authority’s budgetary provisions.

Supervision of works should be performed in accordance with:

- General project design for Reconstruction of the old sports hall;

- Rulebook on supervision of works (Official Gazette RS no. 22/15);

- Law on (design) planning and construction (Official Gazette RS no. 72/09, 81/09, 64/10-decision of Constitutional Court of RS, 74/10, 24/11), 122/12, 42/13-decision of Constitutional Court of RS, 233/09, 50-13 decision of Constitutional Court of RS, 295/09, 98-13-decision of Constitutional Court of RS, 68/113), 132/14, 145/14);

- and other relevant acts and standards related to this type of object.

## Project management

### Responsible body

The Consultant is responsible for all activities regarding this contract.

### Management structure

The responsible person for implementation of the tasks related to this contract, in the Contracting Authority is Predrag Stankov, technical manager.

### Facilities to be provided by the Contracting Authority and/or other parties

N/A

# LOGISTICS AND TIMING

## Location

Zrenjanin, Srednje-Banatski district, Serbia.

## Commencement date & Period of implementation of tasks

The intended commencement date is date of signature of the contract by both parties and the period of implementation of the contract will be 75 days from this date. Please refer to Articles 4 and 5 of the Special Conditions for the actual commencement date and period of implementation.

# REQUIREMENTS

## Personnel

### Key experts

All experts who have a crucial role in implementing the contract are referred to as key experts. The profiles of the key experts for this contract are as follows:

Key expert 1: Team Leader / Chief supervisor

Qualifications and skills

- University degree in Architecture or Civil Engineering or equivalent

- Responsible designer or responsible contractor for architecture or civil engineering projects – Licence no. 300 or 400 or 310 or 410 in accordance with national regulations or equivalent

General professional experience

- Working knowledge of English language

- Computer literacy (Excel, Word, Internet)

Specific professional experience

- Experience in supervising works on at least 1 works project of similar scope and complexity

Key expert 2: Electrical engineer

Qualifications and skills

- University degree in Electrical Engineering or equivalent

- Responsible designer or responsible contractor for electrical engineering projects – Licence no. 350 or 450 in accordance with national regulations or equivalent

General professional experience

- Working knowledge of English language

- Computer literacy (Excel, Word, Internet)

Specific professional experience

- Experience in supervising on at least 1 works project of similar scope and complexity

### Other experts, support staff & backstopping

CVs for experts other than the key experts should not be submitted in the tender. The Consultant shall select and hire other experts as required according to the needs. The selection procedures used by the Consultant to select these other experts shall be transparent, and shall be based on pre-defined criteria, including professional qualifications, language skills and work experience.

Cost for backstopping and support staff, as needed, are considered to be included in the financial offer of the tenderer.

## Office accommodation

Office accommodation for each expert working on the contract is to be provided by the Consultant.

## Facilities to be provided by the Consultant

The Consultant shall ensure that experts are adequately supported and equipped. In particular it shall ensure that there is sufficient administrative, secretarial and interpreting provision to enable experts to concentrate on their primary responsibilities. It must also transfer funds as necessary to support its activities under the contract and to ensure that its employees are paid regularly and in a timely fashion.

## Equipment

No equipment is to be purchased on behalf of the Contracting Authority / beneficiary country as part of this service contract or transferred to the Contracting Authority / beneficiary country at the end of this contract. Any equipment related to this contract which is to be acquired by the beneficiary country must be purchased by means of a separate supply tender procedure.

# REPORTS

## Reporting requirements

The consultant will submit the following reports in English language in one original and 1 copy:

The contractor will prepare brief interim reports at the end of 1st month from the commencement of the implementation. The approval of interim reports will be the basis for issuing respective interim payments as indicated in the Special Conditions.

The contractor will prepare final report on the implementation of the tasks, at the end of this contract. The approval of the final report by the Contracting Authority will be the basis for issuing final payment as indicated in the Special Conditions.

The required formats of the reports will be communicated to the Contractor by the Contracting Authority after the signature of the contract.

## Submission & approval of reports

The report referred to above must be submitted to the Project Manager identified in the contract. The Project Manager is responsible for approving the reports.

# MONITORING AND EVALUATION

## Definition of indicators

’Services provided in timely, quality and quantity manor, as required in these Terms of Reference’’

## Special requirements

N/A