## Summary
Reference No.: 1395/City of Zrenjanin/125746/31.12.2015 – 03
Reconstruction of the old sports hall in Zrenjanin
Bill Of Quantities/Architectural Works |  |  | Object: Medison hall
| Description |  | Amount (EUR/RSD)
A.I | Preparatory and final works |  | 0
A.II | Removal and demolition |  | 0
A.III | Groundwork |  | 0
A.IV | Masonry work |  | 0
A.V | Concrete and RC work |  | 0
A.VI | Isolation works |  | 0
A.VII | Construction joinery |  | 0
A.VIII | Locksmithing |  | 0
A.IX | Tinsmith works |  | 0
A.X | Parquetry works |  | 0
A.XI | Floor laying works |  | 0
A.XII | Painting works |  | 0
|  | TOTAL | 0
Tenderer:
Date:
Signature:

## A.I Preparatory and final works
Object: Medison Hall |  |  |  |  | Part: 1/12
Bill Of Quantities/Architectural Works/Preparatory and final works
pos. | POSITION DESCRIPTION | unit of measure | quantity | price per unit (EUR/RSD) | total (EUR/RSD)
A.I | PREPARATORY AND FINAL WORKS
1 | Installation and dismantling of the construction site fence according to the regulations of the study on SPW.
| Calculation per m2 of the fence. | circa | 1 |  | 0
2 | Production and setting up of the notice board about the construction works with the basic data about the investor, designer, contractor and supervision. The board has dimensions of 300x200 cm in accordance with the Regulations on appearance, content and location of the building site board (Official Gazzette RS 22/2015).
| Calculation per board piece. | piece | 1 |  | 0
3 | Creating and setting up notice boards and other labels with a warning, and by technical regulations. The board has dimensions of 80x60 cm.
| Calculation per board piece. | piece | 1 |  | 0
4 | During the works execute rough cleaning of the construction site several times of debris and transfer the debris to a landfill site. Pay once regardless of the number of cleaning. Cleaning and washing of windows and doors after the completion of all works. Carefully clean all surfaces and wash with water with the addition of appropriate chemical agents.
| Calculation per m2 of the construction site surface. | circa | 1 |  | 0
| TOTAL - A.I PREPARATORY AND FINAL WORKS |  |  |  | 0

## A.II Removal and demolition
Object: Medison Hall |  |  |  |  | Part: 2/12
Bill Of Quantities/Architectural Works/Removal and demolition
pos. | POSITION DESCRIPTION | unit of measure | quantity | price per unit (EUR/RSD) | total (EUR/RSD)
A.II | REMOVAL AND DEMOLITION
1 | Removal of the existing furniture from the room that is to be adapted. Move the furniture within the building.
| Calculation per m2 of the room's surface. | circa | 1 |  | 0
2 | Careful removal of the door with block frame, with surface of 2.00 m2. Assemble the dismantled door, load onto a truck and take to a landfill chosen by the investor.
| Calculation per door. | piece | 18 |  | 0
3 | Careful removal of the door with block frame, dimensions 2.00 to 5.00 m2, which is re-implanted. Clean the dismantled door and take it to the locksmith workshop for adaptation.
| Calculation per door. | piece | 2 |  | 0
4 | Careful removal of the door with block frame, dimensions over 5.00 m2, which is re-implanted. Clean the dismantled door and take it to the locksmith workshop for adaptation.
| Calculation per door. | piece | 2 |  | 0
5 | Careful removal of the parquet floor with the blind floor, skirting boards, and a layer of sand, together with the strips. Dismantle carefully the parquet, blind floor, skirting boards and strips, clean them, pile up by type and take it to the construction site warehouse until re-installation. Gather the debris, take it out, load onto a truck and take it to the landfill.
| Calculation per m2 of the floor surface. | m2 | 1102.5 |  | 0
6 | Stripping the floor made of PVC. Remove the PVC coating, pack it, load onto a truck and take to a landfill chosen by the investor up to 15 km away.
| Calculation per m2 of the floor surface. | m2 | 586.6 |  | 0
7 | Removing the paneling on the walls. Set aside usable material, load into a truck and take to a landfill chosen by the investor, located up to 15 km away. Gather the debris, take it out, load onto a truck and take it to the landfill.
| Calculation per m2 of wall panels. | m2 | 334.4 |  | 0
8 | Removing the wooden board ceiling. Set aside usable material, load into a truck and take to a landfill chosen by the investor, located up to 15 km away. Gather the debris, take it out, load onto a truck and take it to the landfill.
| Calculation per m2 of wooden board ceiling. | m2 | 319.44 |  | 0
9 | Demolition of concrete floor slabs, thickness up to 10 cm. Gather the debris, take it out, load onto a truck and take it to the landfill.
| Calculation per m2 of the floor surface. | m2 | 300 |  | 0
10 | Demolition of the concrete ribs around the existing field. Gather the debris, take it out, load onto a truck and take it to the landfill.
| Calculation per m' of the ribs. | m' | 140 |  | 0
11 | Careful dismantling of the stands for the spectators. Dismantle fully and carefully the stands for spectators (treads, sheets, etc.), clean them and store in the warehouse for reuse or load onto a truck and take to a landfill chosen by the investor up to 15 km away. Gather the debris, take it out, load onto a truck and take it to the landfill.
| Calculation per m2 of the sloping surface of the stands. | circa | 1 |  | 0
12 | Dismantling of metal fences with gates. Assemble the dismantled elements, load onto a truck and take to a landfill chosen by the investor.
| Calculation per m2 of the fence. | m2 | 483 |  | 0
13 | Dismantling, cleaning and storage of panel radiators Merošina. Dismantle the radiators carefully, clean them and store in a warehouse chosen by the investor until reinstallation.
Calcualtion per radiator piece.
| - type 1: dim.80x60x10 | piece | 4 |  | 0
| - type 2: dim.160x60x10 | piece | 3 |  | 0
14 | Dismantling of pipe network for central heating. Dismantle the pipes and pipe holders and store in a warehouse chosen by the investor until reinstallation or take to the landfill up to 15 km away.
| Calculation per m' of the pipe. | m' | 83 |  | 0
15 | Mechanical cutting of reinforced concrete slabs at the site of the construction of the foundation for sports equipment inside the hall. Execute the cutting according to the given measures and drawings.
| Calculation per m' of cutting. | m' | 131.2 |  | 0
16 | Careful removal of the wall split system (internal and external units). Dismantle all parts carefully, clean them of debris and store in the warehouse chosen by the investor.
| Calculation per split system set. | set | 2 |  | 0
| TOTAL - A.II REMOVAL AND DEMOLITION |  |  |  | 0

## A.III Groundwork
Object: Medison Hall |  |  |  |  | Part: 3/12
Bill Of Quantities/Architectural Works/Groundwork
pos. | POSITION DESCRIPTION | unit of measure | quantity | price per unit (EUR/RSD) | total (EUR/RSD)
A.III | GROUNDWORK
1 | Mechanical cutting of asphalt pavement on the construction site for reinforced concrete access ramps for the disabled. Execute the cutting according to the given measures and drawings.
| Calculation per m' of cutting. | m' | 19 |  | 0
2 | Manual excavation of soil of III category for the foundation of the facility, together with concrete or asphalt pavement. Carry out the excavation according to the project and given measurements. Cut the sides properly and level the bottom. Load the excavated soil onto carts, transport, fill up and level the terrain or load onto a truck and take to the landfill.
| Calculation per m3 of excavation. | m3 | 18.192 |  | 0
3 | Purchase and spreading of gravel under the foundation. Fill up with pad layer of gravel in layers, jam and fine plan with a tolerance of ± 1 cm of height.
| Calculation per m3 of jammed gravel. | m3 | 1.2 |  | 0
4 | Purchase and spreading of gravel under the slab. Fill up with pad layer of gravel in layers, jam and fine plan with a tolerance of ± 1 cm of height.
| Calculation per m3 of jammed gravel. | m3 | 13.775 |  | 0
5 | Manual excavation of soil of III category for the foundation of the sports equipment inside the hall. Carry out the excavation according to the project and given measurements. Cut the sides properly and level the bottom. Load the excavated soil onto carts, transport, fill up and level the terrain or load onto a truck and take to the landfill.
| Calculation per m3 of excavation. | m3 | 11.28 |  | 0
6 | Purchase and spreading of gravel under the slab. Fill up with pad layer of gravel in layers, jam and fine plan with a tolerance of ± 1 cm of height.
| Calculation per m3 of jammed gravel. | m3 | 1.688 |  | 0
| TOTAL - A.III GROUNDWORK |  |  |  | 0

## A.IV Masonry work
Object: Medison Hall |  |  |  |  | Part: 4/12
Bill Of Quantities/Architectural Works/Masonry work
pos. | POSITION DESCRIPTION | unit of measure | quantity | price per unit (EUR/RSD) | total (EUR/RSD)
A.IV | MASONRY WORK
1 | Building of partition walls of 12 cm thickness of full brick in lime mortar in ratio of 1: 2: 6. Do the connection at half-brick, and the junction to the other walls in a proper way. Upon completion of the masonry clean the joints. The price includes the extra scaffolding.
| Calculation per m2 of the wall, without the openings. | m2 | 17.75 |  | 0
2 | Mortaring with cement mortar in ratio of 1: 3 in two layers. Before mortaring clean the surfaces and spray with sparse cement water. Make the first layer, grunt, with cement mortar in ratio of 1: 3 of thicknesses up to 2 cm made of sieved gravel, "one" and cement. Mix continuously the mortar not to let the limewater get isolated. Apply the mortar over the substrate and cut for better acceptance of the second layer. Make the second layer in ratio of 1: 3 of fine and clean sand without impurities and organic matter. Parget with moistening and glazing with small trowels. The mortared surfaces must be flat, without waves, and with sharp and straight edges. Moisten the mortar to prevent rapid drying and "burn-out".
| Calculation per m2 of the mortared surface. | m2 | 39.6 |  | 0
3 | Setting up the doors, the size of 2.00m2. Perform everything in accordance with the regulations for this type of work.
| Calculation per door piece | piece | 1 |  | 0
4 | Setting up the doors, the size of 2.00 to 5.00 m2. Perform everything in accordance with the regulations for this type of work.
| Calculation per door piece | piece | 3 |  | 0
5 | Setting up the doors, the size over 5.00 m2. Perform everything in accordance with the regulations for this type of work.
| Calculation per door piece | piece | 2 |  | 0
6 | Making of smoothed cement screed, of 3-5 cm thickness, as a levelling layer and as foundation for parquet laying. Before applying the screed, clean and wash the basic surface. Make the mortar for the screed with sifted gravel "one", in ratio of 1: 3. Reinforce the screed with netting or needle-shaped reinforcement, placed in the middle of the layer. Nurture the screed until it hardens.
| Calculation per m2 of the basic surface. | m2 | 2650 |  | 0
| TOTAL - A.IV MASONRY WORK |  |  |  | 0

## A.V Concrete and RC works
Object: Medison Hall |  |  |  |  | Part: 5/12
Bill Of Quantities/Architectural Works/Concrete and RC works
pos. | POSITION DESCRIPTION | unit of measure | quantity | price per unit (EUR/RSD) | total (EUR/RSD)
A.V | CONCRETE AND REINFORCED CONCRETE WORKS
1 | Construction of reinforced concrete sills, brand MB 25. Develop formwork and reinforce the sills following the details and static calculation. Install the concrete and nurture according to the regulations. The price also includes formwork, struts, reinforcement and extra scaffolding.
| Calculation per m3 of concrete. | m3 | 0.32 |  | 0
2 | Construction of reinforced concrete foundations brand MB 25. Reinforce the foundations according to the project, details and static calculation. Do the concreting work over the previous outspread gravel of 10 cm layer thickness. Install the concrete and nurture it according to regulations. The price also includes reinforcement and gravel buffer.
| Calculation per m3 of concrete. | m3 | 7.8065 |  | 0
3 | Creating a concrete floor, of 12 cm thickness, brand MB 25, reinforced and pargeted. Reinforce the floor with reinforcing mesh, according to the project, static calculations and concrete it. Parget the upper surface and nurture the concrete. The price includes the reinforcement.
| Calculation per m2 of the floor. | m2 | 5.5 |  | 0
4 | Construction of reinforced concrete strips brand MB 25, around the parquet surface in the zone of the main entrance. Reinforce the strips according to the project, details and static calculation. Do the concreting work above the floor concrete slab. Strengthen the S / N connection with hooks made of ribbed reinforcement drilled into the floor concrete slab. Install the concrete and nurture it according to the regulations. The price also includes reinforcement and gravel buffer.
| Calculation per m3 of concrete. | m3 | 1.33 |  | 0
5 | Construction of reinforced concrete over door lintels, brand MB 25. Make the formwork and reinforce the lintels according to the details and static calculation. Install the concrete and nurture it by the regulations. The price also includes formwork, struts, reinforcement and extra scaffolding.
| Calculation per m3 of concrete. | m3 | 0.0336 |  | 0
6 | Construction of reinforced concrete foundations of dim. 50x50x50 cm, brand MB 25, as the hook of foundations for fixing the sports equipment (construction of the basketball hoops, handball goals and others). Reinforce the strips according to the project, details and static calculation. Do the concreting work over the floor slab. Strengthen the S / N connection with hooks made of ribbed reinforcement drilled into the floor concrete slab. Install the concrete and nurture according to the regulations. The price also includes reinforcement and gravel buffer.
| Calculation per m3 of concrete. | m3 | 8.008 |  | 0
7 | Construction of reinforced concrete foundations of dim. 60x60x90 cm, brand MB 25, as the hook of foundations for fixing the sports equipment (volleyball). Reinforce the strips according to the project, details and static calculation. Do the concreting work over the floor slab. During the construction of the foundation install a steel tube for mounting the poll for volleyball. Install the concrete and nurture according to the regulations. The price also includes reinforcement and gravel buffer.
| Calculation per m3 of concrete. | m3 | 2.592 |  | 0
8 | Purchase and installation of reinforcement. Clean the reinforcement, cut it, bend and install according to the project, details and static calculation. The reinforcement before concreting must be reviewed and approved in writing by a structural engineer.
Calculation per kg of reinforcement.
| HRB 400/500 | kg | 980 |  | 0
| MA 500/560 | kg | 25 |  | 0
| TOTAL - A.V CONCRETE AND REINFORCED CONCRETE WORKS |  |  |  | 0

## A.VI Isolation works
Object: Medison Hall |  |  |  |  | Part: 6/12
Bill Of Quantities/Architectural Works/Isolation works
pos. | POSITION DESCRIPTION | unit of measure | quantity | price per unit (EUR/RSD) | total (EUR/RSD)
A.VI | ISOLATION WORKS
1 | Purchase of materials and application of single component polymer cement waterproofing coating to the prepared surface. The price covers coating application in two layers of at least 1.0 mm thickness in accordance with the instructions of the selected producers, as well as setting Trevira strip at the floor and wall conjunction. Put the waterproofing coating by the walls to a height of 30 cm.
| Calculation per m2 of isolation. | m2 | 8 |  | 0
| TOTAL - A.VI ISOLATION WORKS |  |  |  | 0

## A.VII Construction joinery
Object: Medison Hall |  |  |  |  | Part: 7/12
Bill Of Quantities/Architectural Works/Construction Joinery
pos. | POSITION DESCRIPTION | unit of measure | quantity | price per unit (EUR/RSD) | total (EUR/RSD)
A.VII | CONSTRUCTION JOINERY
1 | Production and installation of single winged doors with plywood on both sides. Make the door frame made of first class and dry fir and spruce, and cover the frame construction of the wings with honeycomb with plywood on both sides with 4 mm thickness, according to the scheme of carpentry and details. Make the door frame as wide as the wall and border with moldings. Set shackles made of anodized aluminum, a lock burrowing with cylinder and two keys, three mortise hinges per wing, chosen by the designer. Protect the door with paint for wood in the colour chosen by the designer. Lay a rubber bumper on the floor.
Calculation per piece.
| 1 - 100/205 cm | piece | 1 |  | 0
| 2 - 70/205 cm | piece | 1 |  | 0
| TOTAL - A.VII CONSTRUCTION JOINERY |  |  |  | 0

## A.VIII Locksmithing
Object: Medison Hall |  |  |  |  | Part: 8/12
Bill Of Quantities/Architectural Works/Locksmithing
pos. | POSITION DESCRIPTION | unit of measure | quantity | price per unit (EUR/RSD) | total (EUR/RSD)
A.VIII | LOCKSMITHING
1 | Remodeling of the existing metal double doors (front and evacuation). Remodel the doors according to the enclosed schemes, scrape of the existing paint, repaint with base paint, paint with final paint and install.
| Calculation per door. | piece | 4 |  | 0
2 | Climbers to the top of the hall with back protection (1 piece)
| Calculation per kg of the construction. | kg | 700 |  | 0
3 | Fence at the entrance zone.
| Calculation per m' of the fence. | m' | 30 |  | 0
4 | Fence in the zone of the external ramps on escape routes.
| Calculation per m' of the fence. | m' | 33 |  | 0
5 | Purchase, transport and installation of steel cover above the offices, technical rooms and storage room.
| Calculations per kg of the construction. | kg | 150 |  | 0
| TOTAL - A.VIII LOCKSMITHING |  |  |  | 0

## A.IX Tinsmith works
Object: Medison Hall |  |  |  |  | Part: 9/12
Bill Of Quantities/Architectural Works/Tinsmith works
pos. | POSITION DESCRIPTION | unit of measure | quantity | price per unit (EUR/RSD) | total (EUR/RSD)
A.IX | TINSMITH WORKS
1 | Covering the roof with trapezoidal plasticized aluminum sheet TR 40/230 of 0.80 mm thickness in a color chosen by the designer. Carry out the covering according to the project, the details and the manufacturer's and designer’s instructions.
| Calculation per m2 of the covered surface. | m2 | 16 |  | 0
2 | Hemming the roof edges, battens with painted aluminum sheet, with a full width of (RHQ) 25 cm, and 0.70 mm thickness. Carry out the hemming according to the project, details and the designer’s instructions.
| Calculation per m2 of the covered surface. | m' | 21.2 |  | 0
| TOTAL - A.IX TINSMITH WORKS |  |  |  | 0

## A.X Parquetry works
Object: Medison Hall |  |  |  |  | Part: 10/12
Bill Of Quantities/Architectural Works/Parquetry works
pos. | POSITION DESCRIPTION | unit of measure | quantity | price per unit (EUR/RSD) | total (EUR/RSD)
A.X | PARQUETRY WORKS
1 | Setting of the existing dismantled floor battens for sports floor, cross-section 48/76 mm. Set dry, straight and high quality battens made of pine, of optimal length at a distance of 50 cm.
| Calculation per m2 of the base. | m2 | 1000 |  | 0
2 | Setting the existing dismantled oak parquet for sports surface clenching into the substrate. Set parquet of I class, of 22 mm thickness, in a style chosen by the designer, over the previously cleaned surfaces. All junctions of the slats must be closed. Rivet every other slat to the substrate, and each one to the wall. Leave expansion splits between the wall and the parquet. Set oak battens of I class by walls, and attach them to the wall at every 80 cm. Miter the joints.
| Calculation per m2 of the floor. | m2 | 1000 |  | 0
3 | Procurement and installation of oak parquet for sports floor by clenching under the surface. Set parquet of I class, of 47 mm thickness, in style chosen by the designer, over the previously cleaned surfaces. All junctions of the slats must be closed. Rivet every other slat to the substrate, and each one to the wall. Leave expansion splits between the wall and the parquet. Set oak battens of I class by walls, and attach them to the wall at every 80 cm. Miter the joints. The position must cover the purchase, transport and installation of the slats. Parquet type GRABO or StrongAir Elite or equivalent
| Calculation per m2 of the floor. | m2 | 1550 |  | 0
4 | Scraping and varnishing of the parquet. Scrape the parquet with machines with three types of paper, of which the last with fineness of at least 120. Set the roller on the parquet machine as to make the scraped surface completely flat, with no dents or other marks. Hone all the battens. Varnish the parquet three times with a varnish chosen by the designer. Apply putty on the open joints in the parquet with a mixture of fine sawdust and varnish. After drying pass over with fine sandpaper, whisk the floor and varnish the first time. After 24 hours apply putty on the parquet, pass over with fine sandpaper, whisk the floor and varnish it a second time. When the second coat is fully dry hone it smoothly, whisk it, and varnish the floor a third time. When varnishing make sure the brush is soaked in varnish.
Calculation per m2 of the processed surface.
| - old parquet | m2 | 1000 |  | 0
| - new parquet | m2 | 1550 |  | 0
5 | Purchase and installation of floor battens for office and ancillary room, cross-section of 48/76 mm. Set dry, straight and high quality battens made of pine, of optimal length at a distance of 50 cm.
| Calculation per m2 of the base. | m2 | 18.71 |  | 0
6 | Purchase and installation of deck floor made of pinewood for office, ancillary room and a ramp for the disabled, of 22 mm thickness. Lay the deck floor of I class, free of knots and dry according to the project and the designer’s instructions. Connect the boards making tongue and groove joints. All the floor joints must be closed. Set oak profiled wall skirting by the walls of 8 cm height, 22 mm thickness and attach it with brass screws with dowels at a distance up to 80 cm. The wall skirting is included in the price of the floor.
| Calculation per m2 of the floor. | m2 | 18.71 |  | 0
7 | Scraping and painting with wood stain colors and varnishing the deck floor. Scrape the deck floor with machine with at least two types of paper, the last paper must be a minimum of 120 fineness. Set the rollers on the sander machine as to make the scraped surface completely flat, with no dents or other marks. Hone all the battens. Paint the scraped deck floor with stain colors, “sadolin” or similar means and varnish by the designer’s choice. Before painting go over all surfaces with fine sandpaper to make a smooth surface. Paint twice with a pause for drying of 24 hours, pass over with the finest sandpaper and paint the third time. Varnish the deck floor three times. Go over the floor with fine sandpaper, whisk the floor and varnish the first time. After 24 hours apply putty on the floor, go over the floor with fine sandpaper, whisk the floor and varnish a second time. After 24 hours pass over the deck floor with the finest sandpaper and paint it a third time. When varnishing make sure the brush is soaked in varnish.
| Calculation per m2 of the floor. | m2 | 18.71 |  | 0
| TOTAL - A.X PARQUETRY WORKS |  |  |  | 0

## A.XI Floor laying works
Object: Medison Hall |  |  |  |  | Part: 11/12
Bill Of Quantities/Architectural Works/Floor laying works
pos. | POSITION DESCRIPTION | unit of measure | quantity | price per unit (EUR/RSD) | total (EUR/RSD)
A.XI | FLOOR LAYING WORKS
1 | Production and installation of the frame for coconut mat, measuring 100/150 cm. Create a frame of "L" profile, with hooks, according to the given details. Clean the frame, apply primer undercoating and then paint with paint for metal, twice, in colour chosen by the designer.
| Calculation per frame. | piece | 2 |  | 0
2 | Production and installation of mats made of coconut backed with rubber measuring 100/150 cm, chosen by the designer.
| Calculation per frame. | piece | 2 |  | 0
| TOTAL - A.XI FLOOR LAYING WORKS |  |  |  | 0

## A.XII Painting works
Object: Medison Hall |  |  |  |  | Part: 12/12
Bill Of Quantities/Architectural Works/Painting works
pos. | POSITION DESCRIPTION | unit of measure | quantity | price per unit (EUR/RSD) | total (EUR/RSD)
A.XII | PAINTING WORKS
1 | Coloring and plastering of the walls, with half dispersive paints. Plaster the mortared walls and ceilings with dispersion putty. Hone the surfaces, clean them and perform neutralization. Review and apply putty on minor damages and cracks. Impregnate and apply coating with dispersion putty three times. Hone all surfaces, impregnate and apply putty on minor damages. Pre-paint and make corrections with tinted dispersion putty and then paint with half dispersive paint first and second time. Paint and colour chosen by the designer.
| Calculation per m2 of the painted surface. | m2 | 32.96 |  | 0
2 | Purchase and installation of polyethylene foil over the openings, the doors and windows for protection. Fix the foil with wooden battens, taking care not to damage the existing woodwork. Any damages are borne by the contractor.
| Calculation per m2 of the foil. | m2 | 4.2 |  | 0
3 | Purchase of materials, measuring and drawing sports fields over the varnished parquet.
Calculation per sports field.
| - handball | piece | 3 |  | 0
| - basketball | piece | 4 |  | 0
| - volleyball | piece | 4 |  | 0
| TOTAL - A.XII PAINTING WORKS |  |  |  | 0